## Service
Item | Description | Unit | Qty | Rate Y1 | Rate Y2 | Rate Y3 | Amount
1 | BLD 1 • MAKE: PERKINS • MODEL: YH3XL2.22NLC • RATING: 20 KVA
| Oil Filter | Each | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Litre | 10 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Litre | 1 | 0 | 0 | 0 | 0
| Diesel filter | each | 1 | 0 | 0 | 0 | 0
| Air filter | each | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
2 | BLD 8 • MAKE: PERKINGS • MODEL: 152U • RATING: 15 KVA
| Oil Filter | Sum | 2 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 10 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
3 | BLD 9 • MAKE: MITSUBISH • MODEL: SN12N - PTA • RATING: 1000 KVA
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
4 | BLD 14 E • MAKE: MERCEDES • MODEL: • ENGINE SERIAL NUMBER: 335970120562 • RATING: 100 KVA
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
5 | BLD 15 • MAKE: YANG DONG • MODEL: GK03-16 • ENGINE SERIAL NUMBER: Y30710423Z • RATING:15 KVA
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
6 | BLD 18 • MAKE: CUMMINS • MODEL: 6BTAA5.9G2 • RATING: 140 KVA
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
7 | BLD 20 • MAKE: DOOSAN • MODEL: P222 • RATING: 500 KVA
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
8 | BLD 20 • MAKE: BUNDU • MODEL:3053 • ENGINE SERIAL NUMBER: 2011073D027 • RATING: 15KVA
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
9 | BLD 26 • MAKE: MITSUBISHI • MODEL: S4L2-615D • RATING: 15KVA
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
10 | BLD 36 • MAKE: JOHN DEERE • MODEL: 6068TF158 • RATING: 120 KVA
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
11 | BLD 39 • MAKE: CUMMINS • MODEL: KTA38-G5 • RATING: 1000KVA
| Oil Filter full flow | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| By pass Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
12 | BLD 46 • MAKE: FG WILSON • MODEL: FD4-4-6A1 • RATING: 52 KVA • ENGINE SERIAL NUMBER: Y15046498
| Oil Filter full flow | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| By pass Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
13 | CARLO ROAD -BUILDING 2 • MAKE: MITSUBISHI • MODEL: S4L2-615D • RATING: 15KVA
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
14 | • MAKE: JOHN DEERE- BUILDING 1 • MODEL: 4045TF258 • RATING: 100KVA 3 PHASE • CONTROLER: DSE
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
15 | KLOPPERBOS • MAKE: FAW • MODEL:4DW91-29D • NET POWER SPEED: 21Kw @ 1500rpm • CONTROLER:DSE
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Anti freeze coolant(Drain, flush radiator and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Diesel filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
16 | Building 36 stores generator X 3 (Petrol) • MAKE: UNIPOWER • MODEL: UNII3000 –S2 • RATED POWER: 1KW
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Petrol filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
Sub Total excl VAT
15% VAT
Sub Total incl VAT
17 | Building 36 stores mobile generator X 1 (Petrol) • MAKE: RYOBI • MODEL: 6500 • RATED POWER: 5KW
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Petrol filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
17 | Building 36 stores mobile generator X 1 (Petrol) • MAKE: HONDA • MODEL: EX5500 • RATED POWER: 5,5KW
| Oil Filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine oil (Drain, flush oil sump and replace) | Sum | 1 | 0 | 0 | 0 | 0
| Petrol filter | Sum | 1 | 0 | 0 | 0 | 0
| Air filter | Sum | 1 | 0 | 0 | 0 | 0
| Engine wash degreaser | Sum | 1 | 0 | 0 | 0 | 0
| Sundries/consumables | Sum | 1 | 0 | 0 | 0 | 0
| Labour | Sum | 1 | 0 | 0 | 0 | 0
| Transport | Sum | 1 | 0 | 0 | 0 | 0
18 | Supply, deliver and connection of three phase diesel generators (Rates only)
| 25kVA | Each | 1 | 0 | 0 | 0 | 0
| 50kVA | Each | 1 | 0 | 0 | 0 | 0
| 100kVA | Each | 1 | 0 | 0 | 0 | 0
| 200kVA | Each | 1 | 0 | 0 | 0 | 0
| 300kVA | Each | 1 | 0 | 0 | 0 | 0
| 500kVA | Each | 1 | 0 | 0 | 0 | 0

## Diesel and Petrol supply
Item | Description | Unit | Rate Year 1 | Rate Year 2 | Rate Year 3
1 | Supply Diesel 50ppm at rulling price | liters
| Petrol unleaded 95 at rulling price | liters
2 | Mobile bauser | each
3 | Transport | Kilometers
4 | Labour
4.1 | Skilled | hour
4.2 | Semi-skilled | hour
4.3 | Unskilled | hour
Sub Total excl VAT
15% VAT
Sub Total incl VAT
Note on D2: Applicable mark-up rate
Note on E2: Applicable mark-up
Note on F2: Applicable mark-up
Note on D3: Applicable mark-up
Note on E3: Applicable mark-up
Note on F3: Applicable mark-up