## Annexure A
CSIR RFP No. 3542/31/10/2022 - Network Cabling Service - Catalogue Pricing |  | Equipment related price |  |  |  | Labour related price
Please do not complete the grey highlighted part
Qty | Description | Unit of Measure | Material Unit Price (Year 1) | Material Unit Price (Year 2) | Material Unit Price (Year 3) | Labour unit price (Normal Hours) | Price for after hours installation | Sat/Sun and Public Holidays | Total PriceNormal Hours
General Infrastructure
1 | 25 U floor standing cabinet/rack, 600mm x 800mm,black, perforated front and back doors | Each
1 | 36 U floor standing cabinet/rack, 600mm x 800mm,black, perforated front and back doors | Each
1 | 42 U floor standing cabinet/rack, 600mm x 800mm,black, perforated front and back doors | Each
1 | 6 U wall mounted swing cabinet/rack, 600mm x 600mm,black, perforated front door | Each
1 | 9 U wall mounted swing cabinet/rack, 600mm x 600mm,black, perforated front door | Each
1 | 25 U wall mounted swing cabinet/rack, 600mm x 600mm,black, perforated front door | Each
1 | Lockable castors set per rack | Each
1 | Plinth per rack 600mm x 800mm x 100mm, black | Each
1 | 6 Way PDU, 15A standard non keyed SA 3 prong plug outlets, 15A trip switch | Each
1 | 10 Way PDU, 15A standard non keyed SA 3 prong plug outlets, 15A trip switch | Each
1 | 1 U long Brush panel, black | Each
1 | 1U Black blanking plate | Each
1 | 2 U Black blanking plate | Each
1 | 4 U Black blanking plate | Each
1 | 6 U Black blanking plate | Each
1 | 500 qty Cage nuts and screw (washers excluded) | Each
Routing and Trenching
(per length or item)
1 | Dual steel power/data skirting, gunship grey, (typical CabStrut P801) | Each
1 | 32 mm Bosal pipe (Include pricing for all bends, fittings etc) | Each
1 | 32 mm PVC pipe (Include pricing for all bends, fittings etc) | Each
1 | 50mm Bosal pipe (Include pricing for all bends, fittings etc) | Each
1 | 50 mm PVC pipe (Include pricing for all bends, fittings etc) | Each
1 | SA Plastikor Rainbird Valve Box, standard, (used as inspection holes) | Each
1 | 110mm PVC flexible pipes (plus fittings) | Each
1 | PVC Ega Trunking, white, 40mm x 25mm | Each
1 | PVC Ega Trunking, white, 40mm x 40mm | Each
1 | PVC Ega Trunking, white, 100mm x 40mm | Each
1 | PVC Ega Trunking, white, 25mm x 25mm | Each
1 | Trench per one meter, soft soil (this includes labour, backfilling and re-instating) | Each
1 | Trench per one meter, hard soil (this includes labour, backfilling and re-instating) | Each
1 | Trench per one meter, rocky terrain (this includes labour, backfilling and re-instating) | Each
1 | Trench per one meter, tar road (this includes labour, backfilling and re-instating) | Each
1 | 150mm x 50mm Cabstrut Welded Mesh Cable Tray with fittings per length | Each
1 | 150mm x 50mm Cabstrut Welded Mesh Cable Tray Horisontal 90 bend with fittings per length | Each
1 | 300mm x 50mm Cabstrut Welded Mesh Cable Tray with fittings per length | Each
1 | 300mm x 50mm Cabstrut Welded Mesh Cable Tray Horisontal 90 bend with fittings per length | Each
Fiber Optic cabling
1 | Single Mode, LC – LC, 2m patch lead | Each
1 | Single Mode, LC – LC, 3m fly lead | Each
1 | Single Mode, LC – LC, 5m patch lead | Each
1 | Single Mode, LC – LC, 10m patch lead | Each
1 | Single Mode, LC – LC, 20m patch lead | Each
1 | Single Mode, LC – LC, 30m patch lead | Each
1 | Multi Mode, LC – LC, 2m patch lead | Each
1 | Multi Mode, LC – LC, 3m fly lead | Each
1 | 24 port, 1U, black, fiber optic patch panel, (including gland, 24 x 1m pigtails and 12 mduplex midcouplers) | Each
1 | 12 port, 1U, black, fiber optic patch panel, (including gland, 12 x 1m pigtails and 6 duplex midcouplers) | Each
1 | 24 port, 1U, black, fiber optic patch panel, (Unpopulated) | Each
1 | 1 m UNJ SM Pigtail | Each
1 | SM LC LC Duplex midcoupler | Each
1 | MM LC LC Duplex midcoupler | Each
1 | Ruggedized Single Mode fiber, 1pair, LC-LC, 20m | Each
1 | Ruggedized Single Mode fiber, 1pair, LC-LC, 50m | Each
1 | Ruggedized Single Mode fiber, 1pair, LC-LC, 100m | Each
1 | Single Mode fiber, 12 core, underground cable, per meter | Each
1 | Single Mode fiber, 24 core, underground cable, per meter | Each
1 | Single Mode fiber, 48 core, underground cable, per meter | Each
1 | Multi Mode fiber, 12 core, underground cable, per meter | Each
1 | Multi Mode fiber, 24 core, underground cable, per meter | Each
1 | Multi Mode fiber, 48 core, underground cable, per meter | Each
1 | OFS Fiber Optic Splice Closure (CLOSURE,GPJ09-(FK-CEO-4M)-144-W/ SPL TRAY) | Each
1 | Cost per splice (include all sundries per splice) | Each
Copper cabling
1 | CAT6, grey, 2m patch lead | Each
1 | CAT6, grey, 3m fly lead | Each
1 | CAT6, grey, 5m fly lead | Each
1 | CAT6, grey, 10m fly lead | Each
1 | CAT6, grey, 20m fly lead | Each
1 | CAT6, grey, 50m fly lead | Each
1 | CAT6 cable per meter (non-stranded) | Each
1 | Surface mount single point termination enclosure (CAT6 termination block included) | Each
1 | Surface mount dual point termination enclosure (CAT6 termination block included) | Each
1 | Flush mount single point termination enclosure (CAT6 termination block included) | Each
1 | Flush mount dual point termination enclosure (CAT6 termination block included) | Each
1 | 24 Port, 1U, black, CAT6, patch panel | Each
Specifics
1 | PatchSee CAT6, black, 3m patch lead | Each
1 | PatchSee CAT6, black, 5m patch lead | Each
1 | PatchSee CAT6, black, 7m patch lead | Each
1 | PatchSee CAT6, black, 9m patch lead | Each
1 | PatchSee CAT6, black, 15m patch lead | Each
1 | Traceable Fibre Optic, SM, 3m patch lead | Each
1 | Traceable Fibre Optic, SM, 5m patch lead | Each
1 | Traceable Fibre Optic, SM, 7m patch lead | Each
1 | Traceable Fibre Optic, SM, 9m patch lead | Each
1 | Traceable Fibre Optic, SM, 11m patch lead | Each
1 | Traceable Fibre Optic, SM, 15m patch lead | Each
1 | APC NetShelter SX 42U (AR3100) | Each
1 | APC Metered PDU (AP8853) | Each
1 | APC Smart UPS 1500 RM Single phase 230V | Each
1 | APC Smart UPS 3000 RM Single phase 230V | Each
1 | APC Smart UPS 5000 RM Single phase 230V | Each
1 | 12V, 7.2A/H Sealed Lead Acid CSB battery | Each
1 | RHI-NODE 300 access chamber (manhole) | Each
1 | RHI-NODE 600 access chamber (manhole) | Each
1 | RHI-NODE 1000 access chamber (manhole) | Each
1 | Street Fiber Optic termination bos (Smart Cabin UNI4-310 Huber & Suhner) | Each
Labour
1 | Cost per new CAT6 point (2m patch lead, 3m fly lead, termination box, 60m average)
1 | Cost per fiber cable install external to building per meter (trenching excluded)
1 | Cost per fiber cable install internal to building per meter (building of routing excluded)
1 | Cost to repair a CAT 5/6 network point
1 | Cost to diagnose a fiber optic cable fault
1 | Call out fees (should be included into tender items, should not be billed additionally)
1 | Cost to give quotations should be included in this tender and may not be billed additionally
1 | Project management cost indicated in either a percentage of overall project cost
1 | Labour cost per hour, per body, for ad-Hoc requests (to be determined by the CSIR and mutually agreed upon)