{"text_format":"3","workbook":"xlsx","n_sheets":9,"sheets":["Summary","36 monthly inspection","Steam Generator  ","New Pressure Equipment","Steam NDT","Structural Integrity (Non-press","Risk based inspection","Pipeline risk assessment","Annexure C"],"not_rendered":{"defined_names":3,"comments":1},"read":"whole","date_system":"1900"}

{"sheet":"Summary","index":0,"n_rows":14,"n_cols":2,"rows_kept":14,"merged":[[0,0,0,1],[1,0,1,1]]}
["Cost Summary"]
[]
["Building","Costs (Excl VAT)"]
["36 monthly external, internal inspections and pressure testing "]
["3 yearly boiler pressure testing, inspection and major service "]
["Steam pipe inspection and NDT testing"]
["Risk based inspection- Wind tunnels"]
["Risk Assessment for Associated Piping of Pressure Equipment"]
[]
["Total Cost (Excl VAT)",{"$f":"SUM(B4:B9)","v":0}]
["20% Contingency ",{"$f":"B10*10%","v":0}]
["Sub Total ( Total Cost + 20% Contingency)",{"$f":"SUM(B10:B11)","v":0}]
["15% VAT",{"$f":"B12*0.15","v":0}]
["Total Cost (Inc VAT)",{"$f":"SUM(B12:B13)","v":0}]

{"sheet":"36 monthly inspection","index":1,"n_rows":177,"n_cols":9,"rows_kept":177,"merged":[[0,0,1,8],[174,0,174,5],[176,0,176,5]]}
["3 Yearly statutory Inspection and Pressure Testing -Steam generators, reactors, fermenters, auto claves, pressure vessels, sterilisers and boiler claves   "]
[]
["Building","Serial No","Equipment description","Pressure","Capacity","Year of Manufacture","1st inspection - (Excl VAT)","2nd inspection-  (Excl VAT)","Total cost over 5 years-(Excl VAT)"]
["BLD 2","A185","Pressure Vessel","125PSI","0.05m3",1965,null,null,{"$f":"H4+G4","v":0}]
["BLD 2","VL8113","Pressure Vessel","1050kpa","0.15m3",1989,null,null,{"$f":"H5+G5","v":0}]
["BLD 2","17382 (2236109168)","Pressure vessel","1100 Kpa","0.5m3",2010,null,null,0]
["BLD 2","372151 (351810)","Pressure vessel","1150 Kpa","0.215m3",2008,null,null,0]
["BLD 2","09-5062-1-10","Auto Clave ","250 Kpa","0.25m3",2020,null,null,0]
["BLD 2C","1252","Pressure Vessel","1000KPA","0.8m3",1986,null,null,0]
["BLD 4","A5658-2","Pressure Vessel","1380KPA","0.312m3",1968,null,null,0]
["BLD 4",3205,"Pressure Vessel","1380KPA","0.21m3",1968,null,null,0]
["BLD 6","ILA8530","Pressure Vessel","1380KPA","0.35m3",1988,null,null,0]
["BLD 6","3962","Pressure Vessel","1380KPA","0.52m3",1989,null,null,0]
["BLD 6","60004","Mobile pressure vessel","800 Kpa","0.5m3",2009,null,null,0]
["BLD 7","OP20291","Pressure Vessel","1000KPA","0.5m3",2008,null,null,0]
["BLD 7","119247","Mobile Pressure Vessel","1100KPA","0.05m3",1995,null,null,0]
["BLD 8","A1602","Pressure Vessel","860KPA","0.37m3",1965,null,null,0]
["BLD 8","2347","Pressure Vessel","1650KPA","0.28m3",1949,null,null,0]
["BLD 10","J6K40717010","Pressure vessel","845Kpa","0.5m3",2014,null,null,0]
["BLD 10",1482,"Pressure vessel","800Kpa","Not indicated",2014,null,null,0]
["BLD 10",1483,"Pressure vessel","800 Kpa","Not indicated",2014,null,null,0]
["BLD 12","TJ789","Dryer Filter","1380kPa","0.06m3",1985,null,null,0]
["BLD 12","TJ790","Dryer Filter","1380kPa","0.06m3",1985,null,null,0]
["BLD 12","TJ788","Dryer Filter ","1380kPa","0.06m3",1985,null,null,0]
["BLD 12","TJ783","Dryer","1380kPa","0.98m3",1985,null,null,0]
["BLD 12","TJ784","Dryer","1380kPa","0.98m3",1985,null,null,0]
["BLD 12","SER98-80378-1","Pressure Vessel","1380kPa","71.358m3",1959,null,null,0]
["BLD 12","SER3006039-2","Pressure Vessel","1380kPa","71.358m3",1965,null,null,0]
["BLD 12","SER3000042-1","Pressure Vessel","1380kPa","71.580m3",1965,null,null,0]
["BLD 12","SER3006039-1","Pressure Vessel","1380kPa","71.580m3",1959,null,null,0]
["BLD 12",500968,"pressure Vessel","1500kPa","0.305m3",2005,null,null,0]
["BLD 12",501007,"Pressure Vessel","1500kPa","0.305m3",2005,null,null,0]
["BLD 12","1069-1","Pressure Vessel","1000kPa","0.234m3",2005,null,null,0]
["BLD 12","ILP4983","Dryer ","1300kPa","0.39m3",2005,null,null,0]
["BLD 12","ILP4984","Dryer","1300kPa","0.39m3",2005,null,null,0]
["BLD 12",5505008,"Inline Pre-filter ","1600kPa","0.085m3",2005,null,null,0]
["BLD 12",5504092,"Inline Post-filter ","1600kPa","0.085m3",2005,null,null,0]
["BLD 12","76466A","Pulsation Vessel ","1600kPa","0.052m3",1984,null,null,0]
["BLD 12",7201,"Pulsation Vessel ","19 bar","0.036m3",1969,null,null,0]
["BLD 12",55767,"Accumulator","20600 Kpa","0.55m3",1964,null,null,0]
["BLD 12","A1020","Air Receiver ","100PSI","321/2 CuFt",1965,null,null,0]
["BLd 12","19D289028","Hydraulic Accumulator","472 bar","0.05m3",2019,null,null,0]
["BLD 12","19D513059","Hydraulic Accumulator","472 bar","0.05m3",2019,null,null,0]
["BLD 12","CMGF05504092","Pressure Vessel","16 bar","0.85m3",2005,null,null,0]
["BLD 12","CMGF05S05008","Pressure Vessel","16 bar","0.85 m3",2005,null,null,0]
["BLD 11","ILP 1034","Tunnel Air Dryer ","330kPa","10.55m3",1986,null,null,0]
["BLD 11","ILP 1035","Tunnel Air Dryer ","330kPa","10.55m3",1986,null,null,0]
["BLD 11",901861,"Hydraulic Accumulator","20700 Kpa","0.032m3",1986,null,null,0]
["BLD 11","ILP 1064","Tunnel Air Dryer Filter ","330kPa","1.1m3",1987,null,null,0]
["BLD 11","ILA 5457","Service Air Dryer ","1000kPa","1.2m3",1986,null,null,0]
["BLD 11","ILA 5458","Service Air Dryer ","1000kPa","1.2m3",1986,null,null,0]
["BLD 11","ILP 1128","Service Air Receiver ","850kPa","7.25m3",1987,null,null,0]
["BLD 11","ILA 5449","Service Air Filter Vessel ","1000kPa","0.06m3",1986,null,null,0]
["BLD 11","2980/1","Emergency Oil Tank ","1000kPa","2.4m3",1987,null,null,0]
["BLD 11","2980/2","Lube Oil Reservoir ","300kPa","9m3",1987,null,null,0]
["BLD 11","2980/3","Lube Oil Cooler","1000kPa","0.23m3",1987,null,null,0]
["BLD 11","AL 8760","Lube Oil Filter","1000kPa","0.08m3",1987,null,null,0]
["BLD 11","BS5042182CM26497","Plenum Hydraulic Accumulator","20 700kPa","0.0325m3",1986,null,null,0]
["BLD 11","BS5042182CM26499","Plenum Hydraulic Accumulator","20 700kPa","0.0325m3",1986,null,null,0]
["BLD 11","BS5042182CM26500","Plenum Hydraulic Accumulator ","20 700kPa","0.0325m3",1986,null,null,0]
["BLD 11",19175,"Air Reservoir (TTF) ","1000kPa","1m3",2007,null,null,0]
["BLD 12","0486","Pressure Vessel","1380KPA","0.27m3",1985,null,null,0]
["BLD 12","129","Pressure Vessel","1552KPA","0.9m3",1956,null,null,0]
["BLD 13","IA2807","Pressure Vessel","1379KPA","0.23m3",1979,null,null,0]
["BLD 14","829","Pressure Vessel","6000KPA","0.485m3",1990,null,null,0]
["BLD 14","29472","Pressure Vessel","1100KPA","0.27m3",2002,null,null,0]
["BLD 14","AF2154/ J37138","Pressure Vessel","1300KPA","1.0m3",1998,null,null,0]
["BLD 14","ILE4265","Pressure Vessel","1380KPA","0.485m3",1999,null,null,0]
["BLD 14","6523","Pressure Vessel","860KPA","1.0m3",2013,null,null,{"$f":"H69+G69","v":0}]
["BLD 14","6276","Pressure Vessel","1380KPA","0.5m3",1982,null,null,0]
["BLD 14","6576","Pressure Vessel","1380KPA","1.0m3",1982,null,null,0]
["BLD 14","ILA8551","Pressure Vessel","1380KPA","0.27m3",1988,null,null,0]
["BLD 14","17/21","Boiler Clave","11.38bar","0.774m3",2017,null,null,0]
["BLD 14","S1408006","Auto Clave","250KPA","0.099m3",1995,null,null,0]
["BLD 14","20717","Pressure Vessel","1100KPA","0.5m3",2007,null,null,0]
["BLD 15","6443","Pressure Vessel","689KPA","0.6m3",1975,null,null,0]
["BLD 15","ILS1593","Pressure Vessel","1100KPA","1.0 m3",2006,null,null,0]
["BLD 16","IA 2918","Mobile pressure vessel","1375kpa","0.07m3",1977,null,null,0]
["BLD 16","5600","Pressure Vessel","1380KPA","0.5m3",1981,null,null,0]
["BLD 17","5521","Pressure Vessel","1034KPA","0.5m3",1990,null,null,0]
["BLD 18 ","2036.322","Reactor, Biostat","400KPA","1.0m3",2015,null,null,0]
["BLD 18 ","2036.323","Reactor, Biostat","400KPA","0.3m3",2015,null,null,0]
["BLD 18 ","ILV 1283","Pressure Vessel","1380KPA","0.35m3",1989,null,null,0]
["BLD 18 ","050-5","Fermenter","300 Kpa","0.015m3 shell & 0.02m3 Jacket",1995,null,null,0]
["BLD 18 ","205-1","Fermenter","300 Kpa","0.015m3 shell & 0.02m3 Jacket",1995,null,null,0]
["BLD 18 ","4957","Fermenter","300 Kpa Shell & 400 Kpa Jacket","0.042m3 shell & 0.036m3 Jacket",2015,null,null,0]
["BLD 18 ","4958","Fermenter","300 Kpa Shell & 400 Kpa Jacket","0.042m3 shell & 0.036m3 Jacket",2015,null,null,0]
["BLD 18 ","4959","Fermenter","300 Kpa Shell & 400 Kpa Jacket","0.042m3 shell & 0.036m3 Jacket",2015,null,null,0]
["BLD 18 ","217/300DS","Fermenter","Minus 1bar Sheel & 3 bar Jacket","0.3m3",1992,null,null,0]
["BLD 18 ","AB219790","Jacket Pot","350 Kpa","0.22m3 Jacket & 0.1m3 Vessel",1990,null,null,0]
["BLD 18 ","660HC10-1194","Reactor vessel","1900PSI","Not indicated",1999,null,null,0]
["BLD 19","4500-1006-20322","Pressure Reactor","13 100 Kpa","0.07m3",2010,null,null,0]
["BLD 18 ","J38349","Pressure Vessel","1035KPA","1.0m3",2001,null,null,0]
["BLD 18 ","2356","Auto Clave","400 Kpa","0.075m3",2008,null,null,0]
["BLD 18 ","A2217","Auto Clave","265 Kpa","0.4m3",2015,null,null,0]
["BLD 20","38957","Auto Clave","0.27MPA","0.085m3",2015,null,null,0]
["BLD 18 ","AB2534","Steam pot","350KPA","0.8m3",1981,null,null,0]
["BLD 18 ",38698,"Auto Clave","270 Kpa","0.097m3",2014,null,null,0]
["BLD 18 ","SCFE5-EX1","Pressure vessel","40000kpa","0.00573m3",2022,null,null,0]
["BLD 18 ","SCFE5-CST1","Pressure vessel","10000kpa","0.01781m3",2022,null,null,0]
["BLD 18 ","SCFE5-WS1","Pressure vessel","10000kpa","0.00263m3",2022,null,null,0]
["BLD18","SCFE5-5PH1","Pressure vessel","40000kpa","0.01461m3",2022,null,null,0]
["BLD 18 ","SCFE5-SP2","Pressure vessel","20000kpa","0.00336m3",2022,null,null,0]
["BLD 18 ","SCFE5-SP1","Pressure vessel","20000kpa","0.00336m3",2022,null,null,0]
["BLD18","SCFE5-RS1","Pressure vessel","45000kpa","0.0061m3",2022,null,null,0]
["BLD 18 ","SCFE5-EX1","Pressure vessel","40000kpa","0.00573m3",2022,null,null,0]
["BLD19","J41508","Pressure vessel","1035 Kpa","0.5m3",2016,null,null,0]
["BLD 20","A2648","Auto clave sterelizer","240kpa","0.3m3 Chamber/0.09m3 jacket",2022,null,null,0]
["BLD 20","A2649","Drain Steam generator (Autoclave)","440kpa","0.05m3",2022,null,null,0]
["BLD 20","IA1881","Fermenter","300KPA","0.125m3",1979,null,null,0]
["BLD 20","87148","Auto Clave","130KPA","0.046m3",1987,null,null,0]
["BLD 20","64727","Pressure Vessel","1100 Kpa","0.25m3",2005,null,null,0]
["BLD 20","94238","Auto Clave","250Kpa","0.1m3",1994,null,null,0]
["BLD 20","S0407021","Auto Clave","245KPA","0.075m3",2004,null,null,0]
["BLD 20","S0708124","Auto Clave","245KPA","0.075m3",2007,null,null,0]
["BLD 20","S1306011","Auto Clave","245KPA","0.095m3",2013,null,null,0]
["BLD 20","5903","Pressure Vessel","1034KPA","0.5m3",1991,null,null,0]
["BLD 20","440162","Autoclave","220kpa","0.075m3",2004,null,null,0]
["BLD 20","J37407","Pressure Vessel","1050KPA","1.0m3",1999,null,null,0]
["BLD 23","SE5067","Pressure Vessel","1379KPA","0.35m3",1961,null,null,0]
["BLD 24","ILA8101","Pressure Vessel","1000KPA","0.23m3",1988,null,null,0]
["BLD 24","J28799","Pressure Vessel","1035KPA","0.25m3",1982,null,null,0]
["BLD 24","69973","pressure vessel","1100kpa","0.27m3",2005,null,null,0]
["Kloppersbos","5531","Pressure Vessel","1380KPA","0.48m3",1981,null,null,0]
["BLD 28","3883","Pressure Vessel","862KPA","0.949m3",1964,null,null,0]
["BLD 28","4160","Pressure Vessel","1035KPA","2.3m3",1989,null,null,0]
["BLD 32","SE58274","Pressure Vessel","860KPA","0.3m3",1962,null,null,0]
["BLD 33","A3064","Pressure Vessel","1370KPA","0.35m3",1966,null,null,0]
["BLD 33","30404070029","Auto Clave","0.255Mpa","0.098788m3",2004,null,null,0]
["BLD 33","SA250","Auto clave","Not indicated","Not indicated","Not indicated",null,null,0]
["BLD 36","2761  /ILA 2961","Pressure Vessel","1380KPA","0.35m3",1984,null,null,0]
["BLD 36","7594","Mobile Pressure Vessel","1379 Kpa","0.504m3",1975,null,null,0]
["BLD 36","5036","Mobile Pressure Vessel","193PSI","0.504m3",1961,null,null,{"$f":"H133+G133","v":0}]
["BLD 14E","172049","Mobile Pressure Vessel","1100KPA","0.1m3",2004,null,null,0]
["BLD 37","AR1522 /J28799","Pressure Vessel","1035KPA","0.25m3",1982,null,null,0]
["BLD 43","ILV5076","Pressure Vessel","1380KPA","0.485m3",1991,null,null,0]
["BLD44","201505","Mobile Pressure Vessel","800Kpa","0.1m3",1998,null,null,0]
["BLD44","201504","Mobile Pressure Vessel","1000Kpa","0.3m3",1998,null,null,0]
["BLD 44","3217","Pressure Vessel","1000KPA","0.15m3",1982,null,null,0]
["BLD 44","ILV1527","Pressure Vessel","1000KPA","1.75m3/0.35m3",1989,null,null,0]
["BLD 44","1802979018","Pressure vessel","1100kPa","0.5m3",2018,null,null,0]
["BLD 45","239078","Mobile Pressure Vessel","1100kpa","0.1m3",2013,null,null,0]
["BLD 46","31105080015","Auto Clave","186KPA","0.526m3",2005,null,null,0]
["BLD 46","J38171/AF6488","Pressure Vessel","1000KPA","1.0m3",2001,null,null,0]
["BLD 46","ILV2858 /ILA2858","Pressure Vessel","700KPA","0.485m3",1989,null,null,0]
["BLD 46","53378/029","Pressure Vessel","1200KPA","0.075m3",2009,null,null,0]
["BLD 46","4100","Pressure Vessel","1380KPA","0.52m3",1989,null,null,0]
["BLD 46","59237","Pressure Vessel","16 bar","4m3",1992,null,null,0]
["BLD 46","J27769","Pressure vessel","760kpa","2m3",1981,null,null,0]
["BLD 46","J38153","Pressure Vessel","1300KPA","0.050m3",2001,null,null,0]
["Paardefontein","AG9876","Pressure Vessel","1400Kpa","0.1m3",2011,null,null,0]
["Paardefontein","J37456","Pressure vessel","1200Kpa","0.345m3",1999,null,null,0]
["Paardefontein","35797","Pressure vessel","1100kpa","0.25m3",2009,null,null,0]
["Paardefontein","J33711","Pressure vessel","1400 Kpa","0.345m3",1990,null,null,0]
["Kloppersbos","ILA5759","Pressure Vessel","1380KPA","0.27m3",1987,null,null,0]
["Kloppersbos","ILA5768","Pressure Vessel","1380KPA","0.35m3",1957,null,null,0]
["Cottesloe","J35967","Pressure Vessel","1035 Kpa","0.15m3",1995,null,null,0]
["Cottesloe","20911","Pressure Vessel","1100 Kpa","0.2m3",2009,null,null,0]
["Cottesloe","1229GR-B","Pressure Vessel","689.4 Kpa","0.5m3",1953,null,null,0]
["BLd 23",32522,"Pressure vessel","1100Kpa","0.270m3",2014,null,null,0]
["Stellenbosch","J39317","Pressure vessel","1200Kpa","0.25m3",2005,null,null,0]
["Stellenbosch",77449,"pressure vessel","1100kpa","0.3m3",2019,null,null,0]
["Stellenbosch","BF270-201501","pressure vessel","1250kpa","0.270m3",2015,null,null,0]
["Stellenbosch","ILS-4858","Pressure vessel","1400kpa","0.5m3",2009,null,null,0]
["Durban",747157,"Pressure vessel",{"$nulls":5},0]
["Durban","B/127/4","Pressure vessel","1080kpa","0.23m3",1979,null,null,0]
["Durban",2140,"Pressure vessel","1378kpa","0.311m3",1971,null,null,0]
["Durban","4555-1804-89745","Auto Clave","6890kpa","0.019m3",2018,null,null,0]
["Durban","3115","Pressure vessel (Digester)","1760kpa","0.0126m3",2020,null,null,0]
["Durban","3116","Pressure Vessel","1760kpa","0.0126m3",2020,null,null,0]
["Durban ","2578","Pressure vessel","1970kpa","0.015m3",2005,null,null,0]
["Durban","S0605029","Auto clave","240kpa","0.045m3",{"$nulls":3},0]
["Durban",713,"Digester Vessel","2200kpa","0.032m3",{"$nulls":3},0]
[{"$nulls":8},0]
["Total Cost (Excl VAT)",{"$nulls":7},{"$f":"SUM(I4:I174)","v":0}]
[{"$nulls":5},"Vat"]
["Total Cost (Inc VAT)"]

{"sheet":"Steam Generator  ","index":2,"n_rows":10,"n_cols":15,"rows_kept":10,"merged":[[0,0,0,13],[7,0,7,13],[8,0,8,13],[9,0,9,13]]}
["3 yearly boiler pressure testing, inspection and major service "]
["Building","Serial No","Equipment description","Pressure","Capacity","Year of Manufacture",null,"Next inspection","Annual inspection - year 1 - Cost - (Excl VAT)","Annual inspection - year 2 - Cost -(Excl VAT)","3 Yearly pressure testing and inspection   Cost (Excl VAT)","Major Boiler service-   Cost (Excl VAT) ","Annual inspection - year 4 - Cost- (Excl VAT)","Annual inspection - year 5 - Cost - (Excl VAT)","Total cost over 5 years-(Excl VAT)"]
["BLD 18 ","W28","Steam Generator","1000 Kpa","450Kg/h",1983,"marshall fowler","2024-01-01",{"$nulls":6},{"$f":"I3+J3+K3+L3+M3+N3","v":0}]
["BLD 18 ","74319","Steam Generator","1100 Kpa","1000kg/h",2011,"John Thompson","2024-01-11",{"$nulls":6},{"$f":"I4+J4+K4+L4+M4+N4","v":0}]
["Paardefontain","PY 1803","Electrical vertical Steam Generator","1000kpa","100kg/h",2018,"Top Steam SA","2025-10-10",{"$nulls":6},0]
["Durban",3154,"Steam generator","2790kpa","0.124m3",2022,"John Thompson","2025-12-05",{"$nulls":6},0]
[]
["Total Cost (Excl VAT)",{"$nulls":13},{"$f":"SUM(O3:O7)","v":0}]
["15% VAT",{"$nulls":13},{"$f":"O8*0.15","v":0}]
["Total Cost (Inc VAT)",{"$nulls":13},{"$f":"SUM(O8:O9)","v":0}]

{"sheet":"New Pressure Equipment","index":3,"n_rows":13,"n_cols":7,"rows_kept":13,"merged":[[0,0,0,2]]}
["New pressure equipment and precommissioning and pressure test"]
["Pressure Equipment","Capacity range (liters)","Rate/unit","Rate/unit","Rate/unit","Rate/unit","Rate/unit"]
[null,null,"Year 1","Year 2","Year 3","Year 4","Year 5"]
["Pressure testing","0-499L "]
["Pressure testing","500L-999L "]
["Pressure testing","1000L – 1999L"]
["Pressure testing","2000L-4000L"]
["Precommissioning","0-499L "]
["Precommissioning","500L-999L "]
["Precommissioning","1000L – 1999L"]
["Precommissioning","2000L-4000L"]
["Conformity assessment","0-499L "]
["Conformity assessment","500L-999L "]

{"sheet":"Steam NDT","index":4,"n_rows":11,"n_cols":9,"rows_kept":11,"merged":[[0,0,0,8],[8,0,8,7],[9,0,9,7],[10,0,10,7]]}
["Steam pipe inspection and NDT testing"]
[]
[null,"Building ","Equipment description","Next inspection","Inspection costs (Excl VAT)","Inspection costs (Excl VAT)","Inspection costs (Excl VAT)","Inspection costs (Excl VAT)","Inspection costs (Excl VAT)"]
[{"$nulls":4},"Year 1","Year 2","Year 3","Year 4","Year 5"]
["x rays on piping and wall thickness on steam piping","CSIR Pretoria","Steam pipes","TBC"]
["x rays on piping and wall thickness on steam piping","CSIR Paardefontain","Steam pipes","TBC"]
["x rays on piping and wall thickness on steam piping","CSIR Durban","Steam pipes","TBC"]
["NDT test consumables","_"]
["Total Cost (Excl VAT)",{"$nulls":7},{"$f":"E5+F5+G5+H5+I5+E6+F6+G6+H6+I6+E7+F7+G7+H7+I7+E8+F8+G8+H8+I8","v":0}]
["15% VAT",{"$nulls":7},{"$f":"I9*0.15","v":0}]
["Total Cost (Inc VAT)",{"$nulls":7},{"$f":"SUM(I9:I10)","v":0}]

{"sheet":"Structural Integrity (Non-press","index":5,"n_rows":15,"n_cols":6,"rows_kept":15,"merged":[[0,0,0,5],[11,0,11,5]]}
["Structural Integrity "]
[null,"Year 1","Year 2","Year 3","Year 4","Year 5"]
[null," Rate/per hour"," Rate/per hour"," Rate/per hour"," Rate/per hour"," Rate/per hour"]
["NDT level 1"]
["NDT level 2"]
["NDT level 3"]
["Quality inspector/AIA"]
[]
["Total"]
[]
[]
["Traveling Rates"]
[null,"Year 1","Year 2","Year 3","Year 4","Year 5"]
[null," Rate/KM"," Rate/KM"," Rate/KM"," Rate/KM"," Rate/KM"]
["Travelling"]

{"sheet":"Risk based inspection","index":6,"n_rows":18,"n_cols":7,"rows_kept":18,"merged":[[0,0,0,6],[2,3,2,4],[3,3,3,4],[4,3,4,4],[5,3,5,4],[7,0,7,5],[8,0,8,5],[9,0,9,5],[11,0,11,6],[15,0,15,5],[17,0,17,5]]}
["Risk based inspection- Wind tunnel"]
[]
["Building","Equipment description","Speed","Pressure ",null,"Year of manufacture ","AIA rate per hour risk based inspection (Excl VAT)"]
["BLD 16","low speed wind tunnel - Mitsubishi Heavy industries ","161rmp","_ ",null,1966]
["BLD 11","medium speed wind tunnel - DHE Broderick works","_ ","167kpa operating pressure",null,1987]
["BLD 11","high speed wind tunnel- ","N/A","N/A",null,"N/A"]
[]
["Total Cost (Excl VAT)"]
["15% VAT"]
["Total Cost (Inc VAT)"]
[]
["Risk based inspection- Wind tunnel"]
[]
["Building","Equipment description","Serial no","Design Pressure \nHelium Vessel","Design Pressure \nNitrogen Vessel","Year of manufacture ","AIA rate per hour risk based inspection (Excl VAT)"]
["BLD 16","Nuclear Magnetic Resonance (Vessel inside a vessel) CE0040 ","MRY0020658","1-9bar","9bar",2008]
["Total Cost (Excl VAT)"]
[{"$nulls":5},"15% VAT"]
["Total Cost (Inc VAT)"]

{"sheet":"Pipeline risk assessment","index":7,"n_rows":5,"n_cols":8,"rows_kept":5,"merged":[[0,0,0,7],[3,0,3,16383],[4,0,4,4]]}
["Risk Assessment for Associated Piping of Pressure Equipment"]
[null,"Building ","Equipment description","Year 1 costs (Excl VAT)","Year 2 costs (Excl VAT)","Year 3 costs (Excl VAT)","Year 4 costs (Excl VAT)","Year 5 costs (Excl VAT)"]
["Risk Assessment","CSIR Pretoria"," Associated Piping of Pressure Equipment"]
[]
["NB refer to Annexure C"]

{"sheet":"Annexure C","index":8,"n_rows":58,"n_cols":8,"rows_kept":58,"merged":[[0,0,0,7]]}
["RISK ASSESSMENT"]
["No","Item","Unique Number","Hazard Category","Probability of Failure","Consequence of Failure","Risk Factor","Indicator"]
[1,"Pipeline","Air Line 1 – 11","I",1,1,1]
[2,"Pipeline","Air Line 2 – 11","SEP",1,1,1]
[3,"Pipeline","Air Line 3 – 11","SEP",1,1,1]
[4,"Pipeline","Air Line 4 – 11","SEP",1,1,1]
[5,"Pipeline","Air Line 5 – 11","SEP",1,1,1]
[6,"Pipeline","Air Line 6 – 11","SEP",1,1,1]
[7,"Pipeline","Air Line 7 – 11","SEP",1,1,1]
[8,"Pipeline","Air Line 8 – 11","SEP",1,1,1]
[9,"Pipeline","Air Line 1 -12","SEP",1,1]
[10,"Pipeline","Air Line 2 -12","SEP",1,1,1]
[11,"Pipeline","Air Line 3 -12","SEP",1,1,1]
[12,"Pipeline","Air Line 4 -12","SEP",1,1,1]
[13,"Pipeline","Air Line 5 -12","SEP",1,1,1]
[14,"Pipeline","Air Line 6 -12","I",1,1,1]
[15,"Pipeline","Air Line 7 -12","I",1,1,1]
[16,"Pipeline","Air Line 8 -12","I",1,1,1]
[17,"Pipeline","Air Line 9 -12","I",1,1,1]
[18,"Pipeline","Air Line 10 -12","I",1,1,1]
[19,"Pipeline","Air Line 11 -12","I",1,1,1]
[20,"Pipeline","Air Line 12 -12","I",1,1,1]
[21,"Pipeline","Air Line 13 -12","SEP",1,1,1]
[22,"Pipeline","Air Line 14 - 12","SEP",1,1,1]
[23,"Pipeline","Air Line 1 – 15","SEP",1,1,1]
[24,"Pipeline","Air Line 2 - 15","SEP",1,1,1]
[25,"Pipeline","Air Line 1 - 18","SEP",1,1,1]
[26,"Pipeline","Air Line 1 – 36","SEP",1,1,1]
[27,"Pipeline","Air Line 2 - 36","SEP",1,1,1]
[28,"Pipeline","Cooling Tower Water Pipeline 1 - 11","SEP",1,1,1]
[29,"Pipeline","Cooling Tower Water Pipeline 2 - 11","SEP",1,1,1]
[30,"Pipeline","Cooling Tower Water Pipeline 3 - 11","SEP",1,1,1]
[31,"Pipeline","Supply Water Pipeline Inlet 1 - 15","SEP",1,1,1]
[32,"Pipeline","Supply Water Pipeline Return 2 - 15","SEP",1,1,1]
[33,"Pipeline","Chiller Pipeline Water Supply 1 - 18","SEP",1,1,1]
[34,"Pipeline","Chiller Pipeline Water Return 2 - 18","SEP",1,1,1]
[35,"Pipeline","Waterline Supply 1 – 19C","SEP",1,1,1]
[36,"Pipeline","Waterline Return 2 – 19C","SEP",1,1,1]
[37,"Pipeline","Waterline Supply 3 – 19C","SEP",1,1,1]
[38,"Pipeline","Waterline Return 4 – 19C","SEP",1,1,1]
[39,"Pipeline","Oil Line 1 – 11","II",2,3,6]
[40,"Pipeline","Oil Line 2 – 11","II",2,3,6]
[41,"Pipeline","Oil Line 3 – 11","II",2,3,6]
[42,"Pipeline","Oil Line 4 – 11","II",2,3,6]
[43,"Pipeline","Oil Line 5– 11","II",2,3,6]
[44,"Pipeline","Oil Line 6 – 11","II",2,3,6]
[45,"Pipeline","Oil Line 1 – 12","II",2,3,6]
[46,"Pipeline","Oil Line 2– 12","II",2,3,6]
[47,"Pipeline","Oil Line 3 – 12","II",2,3,6]
[48,"Pipeline","Oil Line 4 – 12","II",2,3,6]
[49,"Pipeline","Oil Line 1 – 15","II",2,3,6]
[50,"Pipeline","Oil Line 2 – 15","II",2,3,6]
[51,"Pipeline","Oil Line 1 – 36","II",2,3,6]
[52,"Pipeline","Flexi Oil Line 1 – 15","II",2,3,6]
[53,"Pipeline","Flexi Oil Line 2 - 15","II",2,3,6]
[54,"Pipeline","Flexi Oil Line 3 – 15","II",2,3,6]
[55,"Pipeline","Flexi Oil Line 1 – 36","II",2,3,6]
[56,"Pipeline","Steam Line 1 - 18","SEP",3,3,9]