{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Annexure D Pricing Schedule"],"read":"whole","date_system":"1900"}

{"sheet":"Annexure D Pricing Schedule","index":0,"n_rows":174,"n_cols":17,"rows_kept":174}
["No","Chemical class/package","Analyte","Required Limit of Reporting","Required Limit of Reporting units","Respondent Limit of Reporting","Price (if foreign)","Rate of exchange (ROE) if foreign","Price (ZAR) (excl South African Value Added Tax) ","Price (ZAR) (excl South African Value Added Tax)","Accredited (Y/N)","Quality Assurance and Quality Control (method blank)","Quality Assurance and Quality Control (method blank spike)","Quality Assurance and Quality Control (matrix spike)","Quality Assurance and Quality Control (sample duplicate)","Certified Reference Material","Turnaround time (days)"]
[{"$nulls":5},"Please add Limit of Reporting here","Add price in foreign currency here","Add ROE for foreign currency here","South African supplier: Add price in ZAR here; Foreign supplier: No addition required","Foreign supplier: Calculate as Column F x Column G; South African supplier: Calculate as Column H x 1.15","Y if accredited, N if not accredited","Y if analysed and reported on, N if not analysed and/or reported on","Y if analysed and reported on, N if not analysed and/or reported on","Y if analysed and reported on, N if not analysed and/or reported on","Y if analysed and reported on, N if not analysed and/or reported on","Y if analysed as part of cost, N of not analysed as part of cost","State turnaround time"]
[null,"Water"]
[1,"Nutrients (dissolved by autoanalyser, saline)","Ammonia ",5,"µg/L"]
[2,"Nutrients (dissolved by autoanalyser, saline)","Nitrite ",3,"µg/L"]
[3,"Nutrients (dissolved by autoanalyser, saline)","Nitrate  ",2,"µg/L"]
[4,"Nutrients (dissolved by autoanalyser, saline)","Orthophosphate  ",5,"µg/L"]
[5,"Nutrients (dissolved by autoanalyser, saline)","Silica  ",50," µg/L"]
[6,"Metals (dissolved, saline)","Aluminium ",5,"µg/L"]
[7,"Metals (dissolved, saline)","Iron",5,"µg/L"]
[8,"Metals (dissolved, saline)","Arsenic",0.5,"µg/L"]
[9,"Metals (dissolved, saline)","Barium",1,"µg/L"]
[10,"Metals (dissolved, saline)","Beryllium",0.1,"µg/L"]
[11,"Metals (dissolved, saline)","Boron",100," µg/L"]
[12,"Metals (dissolved, saline)","Cadmium",0.2,"µg/L"]
[13,"Metals (dissolved, saline)","Cobalt",0.2,"µg/L"]
[14,"Metals (dissolved, saline)","Chromium",0.5,"µg/L"]
[15,"Metals (dissolved, saline)","Hexavalent Chromium",10," µg/L"]
[16,"Metals (dissolved, saline)","Copper",1,"µg/L"]
[17,"Metals (dissolved, saline)","Mercury",0.04,"µg/L"]
[18,"Metals (dissolved, saline)","Manganese",0.5,"µg/L"]
[19,"Metals (dissolved, saline)","Nickel",0.5,"µg/L"]
[20,"Metals (dissolved, saline)","Lead",0.2,"µg/L"]
[21,"Metals (dissolved, saline)","Selenium",2,"µg/L"]
[22,"Metals (dissolved, saline)","Silver",0.1,"µg/L"]
[23,"Metals (dissolved, saline)","Strontium ",10," µg/L"]
[24,"Metals (dissolved, saline)","Vanadium",0.5,"µg/L"]
[25,"Metals (dissolved, saline)","Zinc",5,"µg/L"]
[26,"Metals (dissolved, saline)","8 Metals (Arsenic, Cadmium, Chromium, Copper, Nickel, Lead, Zinc, Mercury)","As above","As above"]
[27,"Metals (dissolved, saline)","11 Metals (Arsenic, Barium, Cadmium, Chromium, Copper, Manganese, Nickel, Lead, Zinc, Vanadium, Mercury)","As above","As above"]
[28,"Anions and cations","Calcium",1,"mg/L"]
[29,"Anions and cations","Magnesium",1,"mg/L"]
[30,"Anions and cations","Sodium",1,"mg/L"]
[31,"Anions and cations","Potassium",1,"mg/L"]
[32,"Bromine",null,0.5,"mg/L"]
[33,"Butyltins (low level)","Mono-, di-, tributyltin","2/2/2","ng/L"]
[34,"Antifouling chemicals","Diuron",0.02,"µg/L"]
[35,"Antifouling chemicals","Irgarol 1051",2E-3,"µg/L"]
[36,"Polycyclic aromatic hydrocarbons (standard reporting limits)","Specify suite of analytes, but must include USEPA16 isomers.",2,"µg/L"]
[37,"Polycyclic aromatic hydrocarbons (low level reporting limits)","Specify suite of analytes, but must include USEPA16 isomers.","0.5-1","µg/L"]
[38,"Polycyclic aromatic hydrocarbons (super trace reporting limits)","Specify suite of analytes, but must include USEPA16 isomers.",0.02,"µg/L"]
[39,"Phenols (standard reporting limits)","Specify suite of analytes","1-2","µg/L"]
[40,"Phenols (low level reporting limits)","Specify suite of analytes","0.1-0.2","µg/L"]
[41,"BTEXN",null,"1-5","µg/L"]
[42,"Total petroleum hydrocarbons (C6-C9)",null,"20-25","µg/L"]
[43,"Total petroleum hydrocarbons (C10-C36/40)",null,"25-100"," µg/L"]
[44,"Organophosphorus pesticides (standard reporting limits)","Specify suite of analytes","0.1-0.2","µg/L"]
[45,"Organophosphorus pesticides (low level reporting limits)","Specify suite of analytes","0.01-0.03","µg/L"]
[46,"Pyrethroid pesticides (standard reporting limits)","Specify suite of analytes",0.1,"µg/L"]
[47,"Pyrethroid pesticides (low level reporting limits)","Specify suite of analytes",0.01,"µg/L"]
[48,"Organochlorine pesticides (standard reporting limits)","Specify suite of analytes",0.01,"µg/L"]
[49,"Organochlorine pesticides (low level reporting limits)","Specify suite of analytes",1E-3,"µg/L"]
[50,"Triazine Pesticides (standard reporting limits)","Specify suite of analytes",1,"µg/L"]
[51,"Triazine Pesticides (low level reporting limits)","Specify suite of analytes",0.1,"µg/L"]
[52,"Phenoxy acid herbicides (standard reporting limits)","Specify suite of analytes",10," µg/L"]
[53,"Phenoxy acid herbicides (low level reporting limits)","Specify suite of analytes",1,"µg/L"]
[54,"Nitrogenous pesticides (standard reporting limits)","Specify suite of analytes",10," µg/L"]
[55,"Nitrogenous pesticides (low level reporting limits)","Specify suite of analytes",1,"µg/L"]
[56,"Glyphosate (low level)",null,10," µg/L"]
[57,"Multi-residue pesticides (pesticides ‘package’)","Specify suite of analytes","Biddrer to Provide","Biddrer to Provide"]
[58,"Antibiotics/Pharmaceuticals/Personal Care Products","Specify suite of analytes","Biddrer to Provide","Biddrer to Provide"]
[59,"Dioxins and furans","Specify suite of analytes","0.05-5","pg/L"]
[60,"Polybrominated diphenyl ethers","Specify suite of analytes",10," ng/L"]
[61,"Per- and polyfluoroalkyl substances","Specify suite of analytes","0.005-0.02","μg/L"]
[62,"Monocyclic Aromatics","Specify suite of analytes","1-5","µg/L"]
[63,"Halogenated Aliphatics","Specify suite of analytes","5-50"," µg/L"]
[64,"Halogenated Aromatics","Specify suite of analytes","5-50"," µg/L"]
[65,"Trihalomethanes","Specify suite of analytes",1,"µg/L"]
[66,"Volatile organic compounds","Specify suite of analytes","1-5","µg/L"]
[67,"Semivolatile organics (low level reporting limits)","Specify suite of analytes","Biddrer to Provide","Biddrer to Provide"]
[68,"Bisphenol A","Specify suite of analytes",1,"µg/L"]
[69,"Linear alkyl benzenes (low level reporting limits)","Specify suite of analytes","Biddrer to Provide","Biddrer to Provide"]
[70,"Chlorinated phenolic compounds","Specify suite of analytes","1-2","µg/L"]
[71,"Chlorinated aromatic compounds","Specify suite of analytes","2-10"," µg/L"]
[]
["No","Sediment"]
[1,"Metals","Aluminium",0.5,"mg/g"]
[2,"Metals","Iron ",0.5,"mg/g"]
[3,"Metals","Arsenic",1,"µg/g"]
[4,"Metals","Barium",5,"µg/g"]
[5,"Metals","Beryllium",0.1,"µg/g"]
[6,"Metals","Cadmium",0.1,"µg/g"]
[7,"Metals","Cobalt",1,"µg/g"]
[8,"Metals","Chromium",1,"µg/g"]
[9,"Metals","Copper",1,"µg/g"]
[10,"Metals","Mercury",0.01,"µg/g"]
[11,"Metals","Manganese",1,"µg/g"]
[12,"Metals","Nickel",1,"µg/g"]
[13,"Metals","Lead",1,"µg/g"]
[14,"Metals","Selenium",1,"µg/g"]
[15,"Metals","Silver",0.1,"µg/g"]
[16,"Metals","Strontium ",1,"µg/g"]
[17,"Metals","Vanadium",1,"µg/g"]
[18,"Metals","Zinc",5,"µg/g"]
[19,"Butyltins (low level reporting limits)","At a minimum: Mono-, di-, tributyltin","0.5,0.5,0.5","μg/kg"]
[20,"Antifouling chemicals","Diuron",1E-3,"mg/kg"]
[21,null,"Irgarol 1051",0.005,"mg/kg"]
[22,"Polychlorinated biphenyl congeners  (low level reporting limits)","Must include PCB 8, 18, 28, 44, 52, 66, 77, 101, 105, 118, 126, 128, 138, 153, 169, 170, 180, 187, 195, 206, 209",2,"µg/kg"]
[23,"Polycyclic aromatic hydrocarbons (standard reporting limits)",null,"500-1000"," µg/kg"]
[24,"Polycyclic aromatic hydrocarbons (standard reporting limits)",null,"10-20"," µg/kg"]
[25,"Polycyclic aromatic hydrocarbons (low level reporting limits)","Naphthalene, 2-Methylnaphthalene, Acenaphthylene, Acenaphthene, Fluorene, Phenanthrene, Anthracene, Fluoranthene, Pyrene, Benz(a)anthracene, Chrysene, Benzo(b)fluoranthene, Benzo(k)fluoranthene, Benzo(e)pyrene, Benzo(a)pyrene, Perylene, Benzo(g,h,i)perylene, Dibenz(a,h)anthracene, Indeno(1,2,3-c,d)pyrene, Coronene","4-5","µg/kg"]
[26,"Phenols (low level reporting limits)","Specify suite of analytes.","0.1-0.2","mg/kg"]
[27,"BTEX",null,"0.5/0.5/0.5/1","///mg/kg"]
[28,"Total petroleum hydrocarbons (C6-C9)",null,25,"mg/kg"]
[29,"Total petroleum hydrocarbons (C10-C36/40)",null,"50/100/100","// mg/kg"]
[30,"Organophosphorus pesticides (low level reporting limits)","Specify suite of analytes.",0.01,"mg/kg"]
[31,"Pyrethroid pesticides (low level reporting limits)","Specify suite of analytes.",0.1,"mg/kg"]
[32,"Organochlorine pesticides (low level reporting limits)","Specify suite of analytes.",1E-3,"mg/kg"]
[33,"Triazine Pesticides (low level reporting limits)","Specify suite of analytes.",0.1,"mg/kg"]
[34,"Phenoxy acid herbicides (low level reporting limits)","Specify suite of analytes.",0.1,"mg/kg"]
[35,"Nitrogenous pesticides (low level reporting limits)","Specify suite of analytes.","Provide","Provide"]
[36,"Glyphosate (low level reporting limits)","Specify suite of analytes.",0.5,"mg/kg"]
[37,"Multi-residue pesticides (pesticides ‘package’) (low level reporting limits)","Specify suite of analytes.","Provide","Provide"]
[38,"Antibiotics/Pharmaceuticals/Personal Care Products (low level reporting limits)","Specify suite of analytes.","Provide","Provide"]
[39,"Dioxins and furans","Specify suite of analytes.","0.1-2","ng/kg"]
[40,"Polybrominated diphenyl ethers (low level reporting limits)","Specify suite of analytes.","0.1-40","ng/kg"]
[41,"Per- and polyfluoroalkyl substances (low level reporting limits)","Specify suite of analytes.","0.002 - 0.005"," mg/kg"]
[42,"Monocyclic Aromatics (low level reporting limits)","Specify suite of analytes.","0.5-1","mg/kg"]
[43,"Halogenated Aliphatics (low level reporting limits)","Specify suite of analytes.","0.5-3","mg/kg"]
[44,"Halogenated Aromatics (low level reporting limits)","Specify suite of analytes.",1,"mg/kg"]
[45,"Trihalomethanes (low level reporting limits)","Specify suite of analytes.",1,"mg/kg"]
[46,"Volatile organic compounds","Specify suite of analytes.","1-5","mg/kg"]
[47,"Semivolatile organics (low level reporting limits)","Specify suite of analytes.","1-2","mg/kg"]
[48,"Bisphenol A (low level reporting limits)",null,"Provide","Provide"]
[]
["No","Biological Tissue"]
[1,"Metals","Aluminium",0.5,"mg/kg"]
[2,"Metals","Iron ",0.5,"mg/kg"]
[3,"Metals","Arsenic",0.05,"mg/kg"]
[4,"Metals","Barium",0.01,"mg/kg"]
[5,"Metals","Beryllium",0.01,"mg/kg"]
[6,"Metals","Boron",1,"mg/kg"]
[7,"Metals","Cadmium",0.01,"mg/kg"]
[8,"Metals","Cobalt",0.05,"mg/kg"]
[9,"Metals","Chromium",0.05,"mg/kg"]
[10,"Metals","Inorganic arsenic",0.05,"mg/kg"]
[11,"Metals","Copper",0.01,"mg/kg"]
[12,"Metals","Mercury, ",0.01,"mg/kg"]
[13,"Metals","Manganese",0.01,"mg/kg"]
[14,"Metals","Nickel",0.01,"mg/kg"]
[15,"Metals","Lead",0.01,"mg/kg"]
[16,"Metals","Selenium",0.05,"mg/kg"]
[17,"Metals","Silver",0.02,"mg/kg"]
[18,"Metals","Strontium ",0.02,"mg/kg"]
[19,"Metals","Vanadium",0.1,"mg/kg"]
[20,"Metals","Zinc",0.01,"mg/kg"]
[21,"Butyltins (low level reporting limits)","At a minimum: Mono-, di-, tributyltin","1,1,1 ","μg/kg"]
[22,"Antifouling chemicals","Diuron","Biddrer to Provide","Biddrer to Provide"]
[23,"Antifouling chemicals","Irgarol 1051","Biddrer to Provide","Biddrer to Provide"]
[24,"Polychlorinated biphenyl congeners (low level reporting limits)","Must include PCB 8, 18, 28, 44, 52, 66, 77, 101, 105, 118, 126, 128, 138, 153, 169, 170, 180, 187, 195, 206, 209",2E-3,"mg/kg"]
[25,"Polycyclic aromatic hydrocarbons (low level reporting limits)","Specify suite of analytes.",0.01,"mg/kg"]
[26,"Phenols (low level reporting limits)","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[27,"BTEX",null,"Biddrer to Provide","Biddrer to Provide"]
[28,"Total petroleum hydrocarbons (C6-C9)",null,25,"mg/kg"]
[29,"Total petroleum hydrocarbons (C10-C36/40)",null,"50/100/100","mg/kg"]
[30,"Organophosphorus pesticides (low level reporting limits)","Specify suite of analytes.",0.1,"mg/kg"]
[31,"Pyrethroid pesticides (low level reporting limits)","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[32,"Organochlorine pesticides (low level reporting limits)","Specify suite of analytes.",1E-3,"mg/kg"]
[33,"Triazine Pesticides (low level reporting limits)","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[34,"Phenoxy acid herbicides (low level reporting limits)","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[35,"Nitrogenous pesticides (low level reporting limits)","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[36,"Glyphosate (low level reporting limits)","Specify suite of analytes.",1,"mg/kg"]
[37,"Multi-residue pesticides (pesticides ‘package’) (low level reporting limits)","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[38,"Dioxins and furans","Specify suite of analytes.","0.1-2","ng/kg"]
[39,"Polybrominated diphenyl ethers","Specify suite of analytes.","0.1-40","μg/kg"]
[40,"Per- and polyfluoroalkyl substances","Specify suite of analytes.","0.0003- 0.005","mg/kg"]
[41,"Monocyclic Aromatics","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[42,"Halogenated Aliphatics","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[43,"Halogenated Aromatics","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[44,"Trihalomethanes","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[45,"Volatile organic compounds","Specify suite of analytes.",1,"mg/kg"]
[46,"Semivolatile organics","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[47,"Bisphenol A","Specify suite of analytes.","Biddrer to Provide","Biddrer to Provide"]
[48,"Lipid content",null,{"v":0.2,"d":"0.20"},"%"]