{"text_format":"3","workbook":"xlsx","n_sheets":15,"sheets":["PG-601","PG-602","PG-603A","PG-603B","PG-603C","PG-604","PG-605","PG-606A","PG-606B","PG-606C","PG-607","PG-608","PG-801A","PG-801B","PG-802"],"not_rendered":{"images":2,"defined_names":15},"read":"whole","date_system":"1900"}

{"sheet":"PG-601","index":0,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 1 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-601"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-601"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-602","index":1,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 2 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-602"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-602"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-603A","index":2,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 3 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-603A"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-603A"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-603B","index":3,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 4 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-603B"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-603B"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-603C","index":4,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 5 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-603C"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-603C"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-604","index":5,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 6 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-604"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-604"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-605","index":6,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 7 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-605"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-605"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-606A","index":7,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 8 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-606A"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-606A"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-606B","index":8,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 9 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-606B"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-606B"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-606C","index":9,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 10 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-606C"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-606C"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-607","index":10,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 11 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-607"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-607"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-608","index":11,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 12 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-010"]
[3,"Item Number:",null,"PG-608"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-608"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-801A","index":12,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 13 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-012"]
[3,"Item Number:",null,"PG-801A"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-801A"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-801B","index":13,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 14 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-012"]
[3,"Item Number:",null,"PG-801B"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-801B"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]

{"sheet":"PG-802","index":14,"n_rows":76,"n_cols":13,"rows_kept":76,"merged":[[0,0,1,1],[0,2,1,3],[0,4,5,5],[0,6,5,8],[0,9,5,10],[2,0,3,1],[2,2,3,3],[4,0,5,1],[4,2,5,3],[6,0,6,10],[7,0,10,1],[7,2,10,2],[7,3,10,3],[7,4,10,4],[7,5,10,5],[7,6,7,10],[8,6,8,8],[8,9,8,10],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,10],[11,0,11,1],[12,0,12,1],[13,0,13,1],[14,1,14,2],[14,3,14,10],[15,1,15,2],[15,3,15,10],[16,1,16,2],[16,3,16,10],[17,1,17,2],[17,3,17,10],[18,1,18,2],[18,3,18,10],[19,1,19,2],[19,3,19,10],[20,0,22,0],[20,1,22,2],[20,4,20,9],[21,4,21,9],[22,4,22,9],[23,0,25,0],[23,1,25,2],[23,4,23,9],[24,4,24,9],[25,4,25,9],[26,0,28,0],[26,1,28,2],[26,4,26,9],[27,4,27,9],[28,4,28,9],[29,0,29,10],[30,1,30,2],[30,4,30,9],[31,1,31,2],[31,4,31,9],[32,1,32,2],[32,4,32,9],[33,1,33,2],[33,4,33,9],[34,1,34,2],[34,4,34,9],[35,1,35,2],[35,4,35,9],[36,1,36,2],[36,4,36,9],[37,1,37,2],[37,4,37,9],[38,1,38,2],[38,4,38,9],[39,1,39,2],[39,4,39,5],[39,6,39,7],[39,8,39,9],[40,0,40,10],[41,1,41,2],[41,4,41,9],[42,1,42,2],[42,4,42,9],[43,1,43,2],[43,4,43,9],[44,1,44,2],[44,4,44,9],[45,1,45,2],[45,4,45,9],[46,1,46,2],[46,4,46,9],[47,1,47,2],[47,4,47,9],[48,1,48,2],[48,4,48,9],[49,0,49,10],[50,1,50,2],[50,4,50,9],[51,1,51,2],[51,4,51,9],[52,1,52,2],[52,4,52,9],[53,1,53,2],[53,4,53,9],[54,0,54,10],[55,1,55,2],[55,4,55,9],[56,1,56,2],[56,4,56,9],[57,1,57,2],[57,4,57,9],[58,1,58,2],[58,4,58,9],[59,0,59,5],[59,6,62,10],[60,0,60,5],[61,0,61,5],[62,0,62,5],[63,0,63,10],[64,0,64,10],[65,0,65,10],[66,0,66,10],[67,0,67,10],[68,0,68,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10]]}
["Project",null,"CSIR BIDF",{"$nulls":6},{"$f":"\"Page \"&_xlfn.SHEET()&\" of \"&_xlfn.SHEETS()","v":"Page 15 of 15"}]
[]
["Document No.",null,"21050-CSI-IC-DAS-001"]
[]
["Location",null,"South Africa, KZN, Durban"]
[]
["Revision Status"]
["Rev No.",null,"Date","Prepared By","Revised Sheet","Revision","Approvals"]
[{"$nulls":6},"Checked By",null,null,"Approved By"]
[{"$nulls":6},"CI Engineer","Mechanical Engineer","Process Engineer","CI Snr Engineer","Process Snr Engineer"]
[]
["A",null,"09/07/2021","K. Freese","ALL","Issued for Internal Review","M. Conradie",null,null,"P Le Grange"]
[]
[{"$nulls":12},"Process to Complete"]
[1,"Description:",null,"Pressure Indicator",{"$nulls":8},"Mechanical to complete"]
[2,"Reference P&ID:",null,"21050-CSI-PR-PID-012"]
[3,"Item Number:",null,"PG-802"]
[4,"Quantity:",null,1]
[5,"Service:",null,"Local Pressure Indicator"]
[6,"Measured Media:"]
[7,"Flowrate:",null,"min:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"operating:",{"$nulls":6},"m³/h"]
[{"$nulls":3},"max:",{"$nulls":6},"m³/h"]
[8,"Temperature:",null,"design min:",{"$nulls":6},"oC"]
[{"$nulls":3},"operating:",{"$nulls":6},"oC"]
[{"$nulls":3},"design max:",{"$nulls":6},"oC"]
[9,"Pressure:",null,"design min:",{"$nulls":6},"kPa"]
[{"$nulls":3},"operating:",{"$nulls":6},"kPa"]
[{"$nulls":3},"design max:",{"$nulls":6},"kPa"]
["EC&I Information"]
[10,"IO Type:",null,null,"Mechanical"]
[11,"Display type :",null,null,"Mechanical Gauge Display in the Field"]
[12,"Calibration Range:",null,null,"TBC",{"$nulls":5},"kPa"]
[13,"Instrument Vendor Range:",null,null,"*"]
[14,"Signal Type:",null,null,"N/A"]
[15,"Supply:",null,null,"N/A"]
[16,"Sensor Type:",null,null,"*"]
[17,"Instrument Conduit Connection:",null,null,"N/A"]
[18,"Transmitter Connection :",null,null,"*"]
[19,"Alarm and Trip Values:",null,null,"Low: N/A",null,"Normal: N/A",null,"High: N/A",null,"kPa"]
["Mechanical Information"]
[20,"Instrument Mounting and Orientation:"]
[21,"Instrument Mechanical Connection:"]
[22,"Enclosure Material and Construction:",null,null,"*"]
[23,"Components:"]
[24,"Process Line Size:"]
[25,"Process Mechanical Connection:"]
[26,"Connection Between Process and Instrument:"]
[27,"Instrument Identification:",null,null,"Stainless Steel Tag Fixed to Instrument With Stainless Steel Wire \nID:PG-802"]
["Rating Information"]
[28,"Design Code:"]
[29,"Accuracy Class:",{"$nulls":8},"%"]
[30,"Ingress Protection:"]
[31,"HAC Compliance:"]
["Vendor Information"]
[32,"Manufacturer:",null,null,"*"]
[33,"Model:",null,null,"*"]
[34,"PO Number:",null,null,"*"]
[35,"Serial Number:",null,null,"*"]
["1) *: Vendor To Specify",{"$nulls":5},"FAT to be included"]
["2) TBC: To Be Confirmed"]
["ALL REVISIONS WILL BE INDICATED BY GREY HIGHLIGHTING IN THE DOCUMENT BODY"]
["ALL ITEMS ON HOLD WILL BE INDICATED BY YELLOW HIGHLIGHTING IN THE DOCUMENT BODY"]
["QUALITY ASSURANCE PLAN OR QA/QC CHECKLIST"]
["MANUFACTURERS FUNCTIONAL TEST REPORT/ INSPECTION CERIFICATE "]
["MATERIAL CERTIFICATES"]
["HYDROSTATIC TEST CERTIFICATE IF APPLICABLE"]
["CERFITICATE OF CONFORMANCE "]
["DATASHEETS"]
["USER AND INSTALLATION MANUALS"]
["GENERAL ARRANGEMENT DRAWINGS"]
["HOOK-UP DRAWINGS"]
["ATEX AND I.A CERTIFICATES"]
["CALIBRATION CERTIFICATES"]
["SPARE PARTS LIST ( WHERE APPLICABLE)"]
["STAINLESS STEEL TAG"]