{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":9,"n_cols":6,"rows_kept":9,"merged":[[0,0,0,5],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,1,4],[1,5,2,5],[8,1,9,4]]}
["Data Centre Specialized UPS\nAPC Symmetra PC 160\nCritical Spares Information"]
["Part Description","Part Number","Replacement Frequency","Availability",null,"Indicative Cost"]
[{"$nulls":3},"Local / Import","Duration"]
["Power Module","COMP10000X","Failure dependant","Local","2 Days from purchase",{"v":89000,"d":"R89,000.00"}]
["Static Switc","STAT 2222","Failure dependant","Import","6 Weeks from Purchase",{"v":30000,"d":"R30,000.00"}]
["WHIPS","WP0001","Failure dependant","Local","Immediate",{"v":1000,"d":"R1,000.00"}]
["Battery Modules","BAT0001","Maintenance","Local","Immediate",{"v":20000,"d":"R20,000.00"}]
[]
[null,"EXAMPLE ONLY"]