{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":95,"n_cols":12,"rows_kept":95,"merged":[[1,0,1,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,2,5],[1,6,2,6],[1,7,2,7],[1,8,2,8],[1,9,2,9],[1,10,2,10],[2,0,2,1],[3,4,5,4],[3,5,5,5],[3,6,5,6],[3,7,5,7],[3,8,5,8],[3,9,5,9],[3,10,5,10],[3,11,5,11],[6,0,7,0],[6,1,7,1],[6,2,7,2],[6,4,7,4],[6,5,7,5],[6,6,7,6],[6,7,7,7],[6,8,7,8],[6,9,7,9],[6,10,7,10],[8,0,9,0],[8,1,9,1],[8,2,9,2],[8,4,9,4],[8,5,9,5],[8,6,9,6],[8,7,9,7],[8,8,9,8],[8,9,9,9],[8,10,9,10],[10,0,11,0],[10,4,11,4],[10,5,11,5],[10,6,11,6],[10,7,11,7],[10,8,11,8],[10,9,11,9],[10,10,11,10],[12,0,13,0],[12,1,13,1],[12,4,13,4],[12,5,13,5],[12,6,13,6],[12,7,13,7],[12,8,13,8],[12,9,13,9],[12,10,13,10],[17,0,18,0],[17,1,18,1],[17,2,18,2],[17,4,18,4],[17,5,18,5],[17,6,18,6],[17,7,18,7],[17,8,18,8],[17,9,18,9],[17,10,18,10],[19,0,20,0],[19,3,20,3],[19,4,20,4],[19,5,20,5],[19,6,20,6],[19,7,20,7],[19,8,20,8],[19,9,20,9],[19,10,20,10],[22,0,23,0],[22,3,23,3],[22,8,23,8],[22,9,23,9],[22,10,23,10],[29,0,30,0],[29,1,30,1],[29,2,30,2],[29,4,30,4],[29,5,30,5],[29,6,30,6],[29,7,30,7],[29,8,30,8],[29,9,30,9],[29,10,30,10],[32,0,33,0],[32,1,33,1],[32,2,33,2],[32,3,33,3],[32,4,33,4],[32,5,33,5],[32,6,33,6],[32,7,33,7],[32,8,33,8],[32,9,33,9],[32,10,33,10],[37,0,38,0],[37,4,38,4],[37,5,38,5],[37,6,38,6],[37,7,38,7],[37,8,38,8],[37,9,38,9],[37,10,38,10],[39,0,40,0],[39,1,40,1],[39,2,40,2],[39,4,40,4],[39,5,40,5],[39,6,40,6],[39,7,40,7],[39,8,40,8],[39,9,40,9],[39,10,40,10],[41,0,42,0],[41,1,42,1],[41,2,42,2],[41,4,42,4],[41,6,42,6],[41,7,42,7],[41,8,42,8],[41,9,42,9],[41,10,42,10],[44,0,45,0],[44,1,45,1],[44,2,45,2],[44,4,45,4],[44,5,45,5],[44,6,45,6],[44,7,45,7],[44,8,45,8],[44,9,45,9],[44,10,45,10],[46,0,47,0],[46,1,47,1],[46,2,47,2],[46,4,47,4],[46,5,47,5],[46,6,47,6],[46,7,47,7],[46,8,47,8],[46,9,47,9],[46,10,47,10],[48,0,49,0],[48,1,49,1],[48,2,49,2],[48,4,49,4],[48,5,49,5],[48,6,49,6],[48,7,49,7],[48,8,49,8],[48,9,49,9],[48,10,49,10],[50,0,51,0],[50,2,51,2],[50,3,51,3],[50,4,51,4],[50,5,51,5],[50,6,51,6],[50,7,51,7],[50,8,51,8],[50,9,51,9],[50,10,51,10],[53,0,54,0],[53,1,54,1],[53,2,54,2],[53,4,54,4],[53,5,54,5],[53,6,54,6],[53,7,54,7],[53,8,54,8],[53,9,54,9],[53,10,54,10],[55,0,56,0],[55,1,56,1],[55,2,56,2],[55,3,56,3],[55,5,56,5],[55,6,56,6],[55,7,56,7],[55,8,56,8],[55,9,56,9],[55,10,56,10],[57,0,58,0],[57,1,58,1],[57,2,58,2],[57,4,58,4],[57,5,58,5],[57,6,58,6],[57,7,58,7],[57,8,58,8],[57,9,58,9],[57,10,58,10],[59,0,60,0],[59,1,60,1],[59,2,60,2],[59,4,60,4],[59,5,60,5],[59,6,60,6],[59,7,60,7],[59,8,60,8],[59,9,60,9],[59,10,60,10],[61,0,62,0],[61,1,62,1],[61,2,62,2],[61,4,62,4],[61,5,62,5],[61,6,62,6],[61,7,62,7],[61,8,62,8],[61,9,62,9],[61,10,62,10],[65,0,66,0],[65,1,66,1],[65,3,66,3],[65,4,66,4],[65,5,66,5],[65,6,66,6],[65,7,66,7],[65,8,66,8],[65,9,66,9],[65,10,66,10],[67,0,68,0],[67,1,68,1],[67,2,68,2],[67,4,68,4],[67,5,68,5],[67,6,68,6],[67,7,68,7],[67,8,68,8],[67,9,68,9],[67,10,68,10],[69,0,70,0],[69,1,70,1],[69,3,70,3],[69,4,70,4],[69,5,70,5],[69,6,70,6],[69,7,70,7],[69,8,70,8],[69,9,70,9],[69,10,70,10],[71,4,73,4],[71,5,73,5],[71,6,73,6],[71,7,73,7],[78,4,80,4],[78,5,80,5],[78,6,80,6],[78,7,80,7],[85,4,87,4],[85,5,87,5],[85,6,87,6],[85,7,87,7],[89,1,89,6],[90,1,90,7],[90,8,91,8],[90,9,91,9],[90,10,91,10],[91,1,91,7],[92,1,92,7],[93,1,93,7],[94,1,94,7]]}
["Bill of Quantity"]
[]
["BILL OF QUANTITIES"]
[{"$nulls":4},"No of detectors","No of beams","No of Sounders","Number of MCPs","Contract Price (Year 1)","Contract Price (Year 2)","Contract Price (Year 3)","Total"]
[null,null,"Types of Fire Control Panels","Areas covered (Scientia)"]
["Item","Description"]
["1.         ","Building 1","Ziton 2-loop addressable fire alarm panel","Common / circulation",3,"ˉ",2,2,{"$nulls":3},{"$f":"SUM(I7:K8)","v":0}]
[{"$nulls":3},"areas"]
["2.         ","Building 2","Ziton 2-loop addressable fire alarm panel","Common / circulation",119,1,36,40,{"$nulls":3},{"$f":"SUM(I9:K10)","v":0}]
[{"$nulls":3},"areas"]
["3.         ","Building 3 + archives (gas","Aritech FP2000 2 Loop addressable Panel,","Common / circulation",110,"ˉ",30,25,{"$nulls":3},{"$f":"SUM(I11:K12)","v":0}]
[null,"suppression)","expandable to 4 loops","areas and archives"]
["4.         ","Building 4","Aritech FP2000 2 Loop addressable Panel,","Common / circulation",96,"ˉ",34,37,{"$nulls":3},{"$f":"SUM(I13:K14)","v":0}]
[null,null,"expandable to 4 loops","areas"]
["5.         ","Building 5","Aritech, Conventional","Entire building",140,"ˉ",15,12,{"$nulls":3},{"$f":"SUM(I15:K16)","v":0}]
["6.         ","Building 6","Ziton Conventional","Entire building",82,"ˉ",7,6]
["7.         ","Building 7","Aritech, Conventional","Entire building",31,"ˉ",6,5,{"$nulls":3},{"$f":"SUM(I17:K18)","v":0}]
["8.         ","Building 8","Ziton 2-loop addressable fire alarm panel","Common / circulation",30,"ˉ",10,11]
[{"$nulls":3},"areas",{"$nulls":7},{"$f":"SUM(I19:K20)","v":0}]
["9.         ","Building 9 + Pyro shield fire",null,"Entire building",70,"ˉ",6,4]
[null,"Suppression system for","Ziton addressable fire alarm panel",{"$nulls":8},{"$f":"SUM(I21:K22)","v":0}]
["10.       ","Building 9 Sprinkler System","Sprinkler system","Entire building","ˉ","ˉ","ˉ","ˉ"]
["11.       ",null,null,"Common / circulation areas, 1st floor B and E block",{"$nulls":7},{"$f":"SUM(I23:K24)","v":0}]
[null,"Building 10","Ziton 2-loop addressable fire alarm panel",null,146,"ˉ",34,43]
["12.       ","Building 11","GE, Conventional","Entire building",37,"ˉ",3,3,{"$nulls":3},{"$f":"SUM(I25:K26)","v":0}]
["13.       ","Building 12","Aritech, Conventional","Entire building",67,"ˉ",5,7]
["14.       ","Building 13","Aritech, Conventional","Entire building",25,"ˉ",3,4,{"$nulls":3},{"$f":"SUM(I27:K28)","v":0}]
["15.       ","Building 14","Aritech, Conventional","Entire building",380,"ˉ",25,20]
["16.       ","Building 15","Aritech, Addressable","Entire building",58,"ˉ",12,14,{"$nulls":3},{"$f":"SUM(I29:K30)","v":0}]
["17.       ","Building 16","Ziton 2-loop addressable fire alarm panel","Common / circulation",21,"ˉ",10,8]
[{"$nulls":3},"areas",{"$nulls":7},{"$f":"SUM(I31:K32)","v":0}]
["18.       ","Building 17","Aritech, Addressable","Entire building",94,2,14,15]
["19.       ","Building 18  +  Energen Suppression system + Bosh evacuation system","6 x FP2064 2 Loop addressable panel detection throughout building that consist of 4 Global Repeaters +Addressable GCU+ Bosh evacuation system","Entire building",125,"ˉ",15,15,{"$nulls":3},{"$f":"SUM(I33:K34)","v":0}]
[]
["20.       ","Building 19","Aritech addressable & Aritech conventional","Entire building",161,"ˉ",15,15,{"$nulls":3},{"$f":"SUM(I35:K36)","v":0}]
["21.       ","Building 20","Aritech addressable & 2x Ziton conventional","Entire building",105,"ˉ",22,20]
["22.        ","Building 21","Ziton 2-loop addressable fire alarm panel","Ground floor & basement",25,"-",2,1,{"$nulls":3},{"$f":"SUM(I37:K38)","v":0}]
["23.       ","Building 22 + archives (FM200 gas","Aritech addressable & Ziton 2-loop","Common / circulation",114,null,20,30]
[null,"suppression)","addressable fire alarm panel","areas and archives",{"$nulls":7},{"$f":"SUM(I39:K40)","v":0}]
["24.       ","Building 23","Ziton 2-loop addressable fire alarm panel","Common / circulation",85,1,30,30]
[{"$nulls":3},"areas & 1 lab",{"$nulls":7},{"$f":"SUM(I41:K42)","v":0}]
["25.       ","Building 26","Technoswitch conventional","Entire Building",5,null,1,1]
[{"$nulls":3},"(substation)",null,"ˉ",{"$nulls":5},{"$f":"SUM(I43:K44)","v":0}]
["26.       ","Building 33","Ziton 2-loop addressable fire alarm panel","Entire building",67,"ˉ",30,30]
["27.       ","Building 34","Ziton 2-loop addressable fire alarm panel","Common / circulation",18,"ˉ",5,8,{"$nulls":3},{"$f":"SUM(I45:K46)","v":0}]
[{"$nulls":3},"areas and archives"]
["28.       ","Building 35","Ziton 2-loop addressable fire alarm panel","Common / circulation",16,"ˉ",6,6,{"$nulls":3},{"$f":"SUM(I47:K48)","v":0}]
[{"$nulls":3},"areas"]
["29.       ","Building 36","Ziton 2-loop addressable fire alarm panel","Common / circulation",12,"ˉ",5,7,{"$nulls":3},{"$f":"SUM(I49:K50)","v":0}]
[{"$nulls":3},"areas and archives"]
["30.       ","Building 36 Data centre","Technoswitch tec 247","Entire area",4,"ˉ",1,"ˉ",{"$nulls":3},{"$f":"SUM(I51:K52)","v":0}]
[null,"(Pyroshield gas suppression)"]
["31.       ","Building 37","Aritech addressable","Entire building",27,"ˉ",4,6,{"$nulls":3},{"$f":"SUM(I53:K54)","v":0}]
["32.       ","Building 38","Ziton 2-loop addressable fire alarm panel","Common / circulation",13,"ˉ",7,7]
[{"$nulls":3},"areas",{"$nulls":7},{"$f":"SUM(I55:K56)","v":0}]
["33.       ","Building 39","Aritech addressable","Entire building","142 & 5 Vesda","ˉ",15,12]
[{"$nulls":4},"units",{"$nulls":6},{"$f":"SUM(I57:K58)","v":0}]
["34.       ","Building 40","Ziton 2-loop addressable fire alarm panel","Common / circulation",8,"ˉ",2,2]
[{"$nulls":3},"areas",{"$nulls":7},{"$f":"SUM(I59:K60)","v":0}]
["35.       ","Building 41","Ziton 2-loop addressable fire alarm panel","Common / circulation",29,"ˉ",10,14]
[{"$nulls":3},"areas",{"$nulls":7},{"$f":"SUM(I61:K62)","v":0}]
["36.       ","Building 42","Ziton 2-loop addressable fire alarm panel","Common / circulation",25,"ˉ",9,8]
[{"$nulls":3},"areas",{"$nulls":7},{"$f":"SUM(I63:K64)","v":0}]
["37.       ","Building 43","Aritech addressable & TC804 conventional","Entire building",310,"ˉ",25,25]
["38.       ","Building 44","Aritech addressable x 5","Entire building",1050,"ˉ",42,30,{"$nulls":3},{"$f":"SUM(I65:K66)","v":0}]
["39.       ","Building 45","Aritech FP2000 2 Loop addressable Panel,","Entire building",86,2,9,9]
[null,null,"expandable to 4 loops",{"$nulls":8},{"$f":"SUM(I67:K68)","v":0}]
["40.       ","Building 46","Ziton 2-loop addressable fire alarm panel","Common / circulation",125,1,28,32]
[{"$nulls":3},"areas & F Block",{"$nulls":7},{"$f":"SUM(I69:K70)","v":0}]
["41.       ","Building 50","Aritech FP2000 2 Loop addressable Panel,","Entire building",20,1,5,6]
[null,null,"expandable to 4 loops",{"$nulls":8},{"$f":"SUM(I71:K72)","v":0}]
[{"$nulls":4},"No of detectors","No of beams","No of Sounders","Number of MCPs","Contract Price (Year","Contract Price (Year","Contract Price (Year"]
[null,null,"Types of Fire Control Panels","Areas covered (Melville Cottesloe)",{"$nulls":4},"1)","1)","1)",{"$f":"SUM(I73:K74)","v":0}]
["Item","Description"]
[42," Admin Building","Ziton Zp2 Fire panel","Entire building",3,"-",2,2,{"$nulls":3},{"$f":"SUM(I75:K76)","v":0}]
[43,"Mechanical Workshop","Ziton Zp2 Fire panel","Entire building",9,"-",2,4]
[44,"Corrosion Test Lab","Ziton Zp2 Fire panel","Entire building",8,"-",2,3,{"$nulls":3},{"$f":"SUM(I77:K78)","v":0}]
[45,"Rope Test Lab","Ziton Zp2 Fire panel","Entire building",15,"-",3,5]
[{"$nulls":4},"No of detectors","No of beams","No of Sounders","Number of MCPs","Contract Price (Year","Contract Price (Year","Contract Price (Year",{"$f":"SUM(I79:K80)","v":0}]
[null,null,"Types of Fire Control Panels","Areas covered (Melville Cottesloe)",{"$nulls":4},"1)","1)","1)"]
["Item","Description",{"$nulls":9},{"$f":"SUM(I81:K82)","v":0}]
[46,"Building 1","Ziton Zp2 Fire panel","Entire building",21,"-",7,17]
[47,"Building 2","Ziton Zp2 Fire panel","Entire building",18,"-",7,10,{"$nulls":3},{"$f":"SUM(I83:K84)","v":0}]
[48,"Building 3","Ziton Zp2 Fire panel","Entire building",7,"-",2,3]
[49,"Building 4","Ziton Zp2 Fire panel","Entire building",7,"-",3,3,{"$nulls":3},{"$f":"SUM(I85:K86)","v":0}]
[{"$nulls":4},"No of detectors","No of beams","No of Sounders","Number of MCPs","Contract Price (Year","Contract Price (Year","Contract Price (Year"]
[null,null,"Types of Fire Control Panels","Areas covered (Melville Cottesloe)",{"$nulls":4},"1)","1)","1)",{"$f":"SUM(I87:K88)","v":0}]
["Item","Description(Paardefontein)"]
[50,"Building 2","Ziton 2-loop addressable fire alarm panel","Common Area",2,"-",1,1,{"$nulls":3},{"$f":"SUM(I89:K90)","v":0}]
[51,"Call Fee"]
[null,"Safety file."]
[52,"Provide risk assessment safety file according to CSIR's requirements. Ensure all insurance including public liability and workmen’s compensation is in place prior to commencement of works. Copy of safety file to be kept on site at all times"]
[null,"Sub-Total",{"$nulls":9},{"$f":"SUM(L7:L90)","v":0}]
[null,"15% VAT",{"$nulls":9},{"$f":"SUM(L93*0.15)","v":0}]
[null,"Total",{"$nulls":9},{"$f":"SUM(L93:L94)","v":0}]