{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Phase 2","Sheet2"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Phase 2","index":0,"n_rows":1606,"n_cols":9,"rows_kept":1606,"merged":[[4,4,4,5],[6,4,6,7],[8,4,8,5],[10,4,10,7],[12,4,12,7],[38,2,38,8],[42,5,42,8],[73,2,73,8],[107,2,107,8],[112,2,112,8],[154,2,154,8],[157,5,157,8],[191,2,191,8],[238,5,238,8],[263,2,263,8],[295,2,295,8],[320,2,320,8],[358,2,358,8],[384,2,384,8],[430,2,430,8],[469,2,469,8]]}
[null,null,"CSIR WATER NETWORK UPGRADE"]
[null,null,"BILL OF QUANTITIES"]
[{"$nulls":4},"SUMMARY OF SECTIONS"]
[null,null," ",null,"DESCRIPTION"," "," "," ","AMOUNT R"]
[{"$nulls":4},"SCHEDULE A: PRELIMINARY AND GENERAL "]
[]
[{"$nulls":4},"SCHEDULE B: SITE PREPARATION & EARTHWORKS"]
[]
[{"$nulls":4},"SCHEDULE C: PIPEWORK"]
[]
[{"$nulls":4},"SCHEDULE D: REINSTATEMENT OF PAVING & MAKING GOOD"]
[]
[{"$nulls":4},"PROVISIONAL SUM: DIRECTIONAL DRILLING FOR ROAWAY CROSSINGS",{"$nulls":3},{"v":65000,"d":"R65,000.00"}]
[]
[]
[]
[{"$nulls":4},"Sub Total ( ex VAT)"]
[]
[{"$nulls":4},"10% Contingency"]
[]
[{"$nulls":4},"Total ( ex VAT)"]
[]
[{"$nulls":4},"15% VAT"]
[{"$nulls":4},"TOTAL CARRIED TO TENDER FORM"]
[null,null," "]
{"$rows_empty":13}
[null,null,1]
["Rate=G"]
[]
[]
[null,null,"CSIR WATER NETWORK UPGRADE",null,null,"SCHEDULE A: PRELIMINARY AND GENERAL"]
[null,null,"BILL OF QUANTITIES"]
[null,null,"ITEM\nNO","PAYMENT","DESCRIPTION","UNIT","QTY","RATE","AMOUNT R"]
[199,null,"A","SANS","PRELIMINARY AND GENERAL "]
[{"$nulls":4},"Allow for Preliminary and General including all health and safety requirements as per Occupational Health and Safety Act 85 of 1993"]
[]
[200,null,"A1",8.3,"FIXED-CHARGE AND VALUE- RELATED ITEMS"]
[]
[201,null,"A1.1","8.3.1","Establish facilities for the contractor on Site:",{"$nulls":3},{"$f":"IF(F51 = \"%\", G51*H51/100,G51*H51)","v":{"v":0,"d":" 0.00"}}]
[]
[209,null,"A1.2",null,"a) Offices and storage sheds ","Sum",1,null,{"$f":"IF(F53 = \"%\", G53*H53/100,G53*H53)","v":{"v":0,"d":"R0.00"}}]
[]
[212,null,"A1.3",null,"b) Ablution and latrine facilities ","Sum",1,null,{"$f":"IF(F55 = \"%\", G55*H55/100,G55*H55)","v":{"v":0,"d":"R0.00"}}]
[]
[213,null,"A1.4",null,"c) Tools and equipment ","Sum",1,null,{"$f":"IF(F57 = \"%\", G57*H57/100,G57*H57)","v":{"v":0,"d":"R0.00"}}]
[]
[214,null,"A1.5",null,"d) Water supplies, electric power and communications.","Sum",1,null,{"$f":"IF(F59 = \"%\", G59*H59/100,G59*H59)","v":{"v":0,"d":"R0.00"}}]
[]
[null,null,"A1.6",null,"e) Supervision and company overhead costs for duration of contract","Sum",1,null,{"$f":"IF(F61 = \"%\", G61*H61/100,G61*H61)","v":{"v":0,"d":"R0.00"}}]
[]
[null,null,"A1.7",null,"PLANT"]
[]
[{"$nulls":4},"Supply plant, including operator, fuel and other costs.","Sum",1,null,{"$f":"IF(F65 = \"%\", G65*H65/100,G65*H65)","v":{"v":0,"d":"R0.00"}}]
[]
[null,null,"A1.8",null,"TESTING"]
[]
[{"$nulls":4},"Water pressure testing and submission of test schedules","Sum",1,null,{"$f":"IF(F69 = \"%\", G69*H69/100,G69*H69)","v":{"v":0,"d":"R0.00"}}]
[]
[null,null,"A1.9",null,"Other fixed charged obligations (Specify) ","Sum"]
[]
[null,null," Total Carried Forward to summary:",{"$nulls":5},{"$f":"SUM(I46:I72)","v":{"v":0,"d":"R0.00"}}]
[null,null,2]
[]
[]
[]
[]
[]
[222]
[]
[]
[null,null,"CSIR WATER NETWORK UPGRADE"]
[null,null,"BILL OF QUANTITIES",{"$nulls":5},"SCHEDULE B: SITE PREPARATION & EARTHWORKS "]
[null,null,"ITEM\nNO","PAYMENT","DESCRIPTION","UNIT","QTY","RATE","AMOUNT R"]
[null,null,"B1","8.3.3","SITE PREPARATION & EARTHWORKS"]
[{"$nulls":4},"The Contractor is required to take all necessary precautions, watering where appropriate, to prevent dust blowing from construction material and spoil heaps and/ or ground stripped of vegetation cover, the cost of which must be included in the tendered rates.\n"]
[]
[{"$nulls":4},"The Project manager and Contractor are to agree upon a stockpile site for any topsoil that is to be removed and stockpiled. The costs for transporting, preparing the stockpile site and stockpilingshall be deemed to be included in the rates."]
[]
[{"$nulls":4},"The Contractor shall be responsible for all lateral support and the safe-guarding of all\nexcavations, and all costs involved with the proper safeguarding of the excavations shall be included in the tendered rates."]
[]
[null,null,"B1.1",null,"Contractor to make allowance for site celarance along the pipeline path. Removal of obtructing vegetation, rocks, stones, etc.","Sum",{"v":1,"d":"1.0"},null,{"$f":"H93*G93","v":{"v":0,"d":"R0.00"}}]
[null,null,"B1.1",null,"Remove topsoil to nominal depth of 150mm and stockpile","m³",{"$f":"524*2.55*0.15","v":200.4},null,{"$f":"H94*G94","v":{"v":0,"d":"R0.00"}}]
[]
[null,null,"B1.2",null,"Excavate by hand not exceeding 1.2m deep in all material to expose the existing asbestos water pipeline .","m³",{"$f":"524*2.55*1.2","v":1603.4},null,{"$f":"H96*G96","v":{"v":0,"d":"R0.00"}}]
[]
[223,null,"B1.3","8.3.4","20% Extra-over for the above to excavate in hard rocky material","m³",{"$f":"20%*G96","v":320.7},null,{"v":0,"d":"R0.00"}]
[]
[224,null,"B1.4",8.4,"Excavate by hand in all material not exceeding 1.2m deep and to prepare for the installation of new 4x160mm diameter PVC and 1x110mm diameter PVC sleeve","m³",{"$f":"2.55*1.2*524","v":1603.4},null,{"$f":"H100*G100","v":{"v":0,"d":"R0.00"}}]
[]
[null,null,"B1.5",null,"20% Extra over for excavating in hard rock material.","m³",{"$f":"20%*G100","v":320.7},null,{"v":0,"d":"R0.00"}]
[]
[225,null,"B2","8.4.1","BEDDING AND BLANKET"]
[]
[226,null,null,"8.4.2","From commercial sources:"]
[]
[null,null,3]
[227,null,"B2.1","8.4.2.1","a) Supply, lay and level 150mm bedding sand  and compact to 100% MOD. AASHTO density","m³",{"$f":"2.55*0.15*524","v":200.4},null,{"$f":"H109*G109","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"b) Supply, lay and level  160mm backfill sand and compact to 100% MOD. AASHTO","m³",{"$f":"524*2.55*0.16","v":213.8},null,{"$f":"H111*G111","v":{"v":0,"d":"R0.00"}}]
[232,null,"B2.2","8.4.2.2","b) Supply, lay and level backfill 300mm blanket sand and compacted in layers of 150mm to 100% MOD. AASHTO","m³",{"$f":"0.3*2.55*524","v":400.9},null,{"v":0,"d":"R0.00"}]
[233,null,"4"]
[]
[null,null,"CSIR WATER NETWORK UPGRADE"]
[null,null,"BILL OF QUANTITIES"]
[{"$nulls":8},"SCHEDULE B,C:  EARTHWORKS & PIPEWORK"]
[null,null,"ITEM\nNO","PAYMENT","DESCRIPTION","UNIT","QTY","RATE","AMOUNT R"]
[236,{"$nulls":3},"TRENCH FILLING",{"$nulls":3},{"$f":"IF(F119 = \"%\", G119*H119/100,G119*H119)","v":{"v":0,"d":" 0.00"}}]
[]
[237,null,"B2.3",null,"Surplus material from excavations and/ or stockpiles on site to be cart off to a dumping site to be located by the contractor",{"$nulls":3},{"$f":"IF(F121 = \"%\", G121*H121/100,G121*H121)","v":{"v":0,"d":" 0.00"}}]
[]
[238,null,"B2.4",null,"Import G1 material from pipeline stockpile (if suitable), place and compact in not more than 150 mm layers","m³",{"$f":"0.7*524*2.55","v":935.3},null,{"$f":"IF(F123 = \"%\", G123*H123/100,G123*H123)","v":{"v":0,"d":"R0.00"}}]
[]
[240,null,"C1",null,"PIPELINES:",{"$nulls":3},{"$f":"IF(F125 = \"%\", G125*H125/100,G125*H125)","v":{"v":0,"d":" 0.00"}}]
[]
[241,{"$nulls":3},"Keeping Pipelines Clean \nAll pipes laid must be closed by means of an adequately fixed plastic cap or other approved material, supplied by the\nContractor, in order to prevent the ingress of foreign material.\n",{"$nulls":3},{"$f":"IF(F127 = \"%\", G127*H127/100,G127*H127)","v":{"v":0,"d":" 0.00"}}]
[]
[242,{"$nulls":3},"Pipes laid in common trench \nWhere two pipes are laid side by side in the same trench, the clear distance between the pipes shall not be less than 300 mm",{"$nulls":3},{"$f":"IF(F129 = \"%\", G129*H129/100,G129*H129)","v":{"v":0,"d":" 0.00"}}]
[]
[243,null,"C1.1",null,"Supply lay and seal 160mm class 16 PVC pipe according to manufacturer's specification","m",{"v":1391,"d":"1391.0"},null,{"$f":"IF(F131 = \"%\", G131*H131/100,G131*H131)","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"Supply, lay and seal 110mm diameter PVC sleeve and complete with drawire","m",{"$f":"77+8.5+342+100","v":527.5},null,{"$f":"IF(F133 = \"%\", G133*H133/100,G133*H133)","v":{"v":0,"d":"R0.00"}}]
[{"$nulls":8},{"$f":"IF(F134 = \"%\", G134*H134/100,G134*H134)","v":{"v":0,"d":" 0.00"}}]
[]
[245,null,"C2","PSA 8.12","PIPE FITTINGS",{"$nulls":3},{"$f":"IF(F136 = \"%\", G136*H136/100,G136*H136)","v":{"v":0,"d":" 0.00"}}]
[]
[247,null,"C2.1",null,"a) 160mm 90° Bends","No",24,null,{"$f":"IF(F138 = \"%\", G138*H138/100,G138*H138)","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"b) 160mm 45° bends Bends","No",12,null,{"$f":"IF(F140 = \"%\", G140*H140/100,G140*H140)","v":{"v":0,"d":"R0.00"}}]
[]
[251,null,null,"8.4.5","c) 110mm 45° Bends","No",10,null,{"$f":"IF(F142 = \"%\", G142*H142/100,G142*H142)","v":{"v":0,"d":"R0.00"}}]
[]
[260,{"$nulls":3},"d) 160mm x 80mm femaleTees including transition couplings","No",3,null,{"$f":"IF(F144 = \"%\", G144*H144/100,G144*H144)","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"e) 110mm PVC end cap","No",1,null,{"$f":"IF(F146 = \"%\", G146*H146/100,G146*H146)","v":{"v":0,"d":"R0.00"}}]
[261]
[{"$nulls":4},"f)160mm end cap","No",1,null,{"$f":"IF(F148 = \"%\", G148*H148/100,G148*H148)","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"f) 160mm steel flange adaptors","No",8,null,{"$f":"IF(F150 = \"%\", G150*H150/100,G150*H150)","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"g) Allow for pipeline marking","Sum",1,null,{"$f":"IF(F152 = \"%\", G152*H152/100,G152*H152)","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"h) Allow for thrust blocks on all pipe bends for stability","Sum",1,null,{"$f":"IF(F154 = \"%\", G154*H154/100,G154*H154)","v":{"v":0,"d":"R0.00"}}]
[null,null,"5"]
[null,null,"CSIR WATER NETWORK UPGRADE","CSIR WATER NETWORK UPGRADE"]
[null,null,"BILL OF QUANTITIES","BILL OF QUANTITIES"]
[{"$nulls":5},"SCHEDULE C& D: PIPEWORK & PAVING"]
[null,null,"ITEM\nNO","PAYMENT","DESCRIPTION","UNIT","QTY","RATE","AMOUNT R"]
[263,null,"C2.2.","PSA 8.9","Fire Hydrants"]
[{"$nulls":4},"Supply and install  80mm CAS HYDRANT WHS-80 H/W S/LUG,1m above ground level. Fire hydrant to be complete with wheel valve, made of cast iron-intake with cylinder pipe male threaded with duct buckle","No",{"v":3,"d":" 3"},null,{"$f":"IF(F161 = \"%\", G161*H161/100,G161*H161)","v":{"v":0,"d":"R0.00"}}]
[716]
[null,null,"C2.3",null,"Valves"]
[{"$nulls":4},"Supply, install and connect 160mm RS AVK GATE VALVE RHC CAP TOP SOC SANS664-2011","No",4,null,{"$f":"IF(F164 = \"%\", G164*H164/100,G164*H164)","v":{"v":0,"d":"R0.00"}}]
[]
[null,null,"C2.4",null,"Extra over for valve boxes"]
[{"$nulls":4},"Supply and install 400mmx400mm brickwork/ precast concrete  manhole including cover. ","No",4,null,{"$f":"IF(F167 = \"%\", G167*H167/100,G167*H167)","v":{"v":0,"d":"R0.00"}}]
[]
[null,null,"D",null,"PAVING/CONCRETE "]
[null,null,"D1",null,"Demolition"]
[{"$nulls":4},"a) Existing paved concrete to be removed and cart off site","Sum",1,null,{"$f":"IF(F171 = \"%\", G171*H171/100,G171*H171)","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"Stockpilling of road material"]
[{"$nulls":4},"b) The existing layerworks to be reinstated, compacted in layers not exceeding 150mm. ","Sum",1,null,{"$f":"IF(F174 = \"%\", G174*H174/100,G174*H174)","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"Concrete"]
[{"$nulls":4},"c)Supply concrete and reinstate the pathway infront of the pump station and make good","Sum",1,null,{"$f":"IF(F177 = \"%\", G177*H177/100,G177*H177)","v":{"v":0,"d":"R0.00"}}]
[]
[{"$nulls":4},"d) Allow for connecting to existing reservoirs","Sum",1,null,{"$f":"IF(F179 = \"%\", G179*H179/100,G179*H179)","v":{"v":0,"d":"R0.00"}}]
[{"$nulls":3},8.7]
[{"$nulls":4},"e) Allow for connetion to pump station and make good","Sum",1,null,{"$f":"IF(F181 = \"%\", G181*H181/100,G181*H181)","v":{"v":0,"d":"R0.00"}}]
[265]
[]
[]
[268]
[]
[269]
[270]
[]
[271,null,null,8.7]
[null,null," Total Carried Forward To Summary: "]
[null,null,6]
{"$rows_empty":51}
[278]
[]
[279]
[]
[]
[]
[281]
{"$rows_empty":23}
[286]
{"$rows_empty":27}
[288]
[]
[290]
[291]
[]
[293]
{"$rows_empty":19}
[294]
{"$rows_empty":19}
[295]
[]
[]
[]
[]
[]
[]
[299]
[]
[]
[{"$nulls":8},{"$f":"IF(F393 = \"%\", G393*H357/100,G393*H357)","v":{"v":0,"d":" 0.00"}}]
[309,null," Total Carried Forward To Summary: Schedule D",{"$nulls":5},{"$f":"SUM(I327:I357)","v":{"v":0,"d":" 0.00"}}]
[null,null,32]
{"$rows_empty":85}
[311]
{"$rows_empty":10}
[312]
[]
[313]
[]
[314]
[]
[709]
[]
[710]
{"$rows_empty":12}
[329]
[]
[330]
[]
[331]
[]
[332]
[]
[]
[338]
[]
[339]
[]
[340]
[]
[341]
[]
[342]
[]
[343]
[]
[344]
[]
[712]
[]
[713]
[]
[345]
[]
[346]
{"$rows_empty":14}
[347]
[]
[352]
[]
[1258]
[]
[353]
[]
[1280]
[]
[1281]
[]
[1259]
[]
[1260]
[]
[1261]
[]
[1262]
[]
[1263]
[]
[1264]
[]
[354]
[]
[355]
[]
[356]
[]
[357]
{"$rows_empty":10}
[358]
[]
[359]
[]
[360]
[]
[361]
[]
[362]
[]
[364]
[]
[365]
[]
[366]
[]
[367]
[]
[368]
[]
[369]
[]
[370]
[]
[371]
[]
[981]
[]
[1265]
[]
[372]
[]
[374]
[]
[375]
[]
[376]
[]
[377]
[]
[378]
{"$rows_empty":10}
[379]
[]
[982]
[]
[380]
[]
[381]
[]
[382]
[]
[383]
[]
[384]
[]
[385]
[]
[387]
[]
[388]
[]
[389]
[]
[390]
[]
[391]
[]
[983]
[]
[392]
[]
[393]
[]
[394]
[]
[1282]
[]
[395]
[]
[396]
[]
[397]
[]
[984]
[]
[398]
[]
[399]
{"$rows_empty":9}
[985]
[]
[400]
[]
[401]
[]
[402]
[]
[403]
[]
[404]
[]
[405]
[]
[407]
[]
[409]
[]
[410]
[]
[411]
[]
[414]
[]
[416]
[]
[417]
[]
[418]
[]
[419]
[]
[420]
[]
[421]
{"$rows_empty":11}
[422]
[]
[423]
[]
[1266]
[]
[424]
[]
[425]
[]
[1267]
[]
[426]
[]
[427]
[]
[428]
[]
[429]
[]
[986]
[]
[987]
[]
[430]
[]
[431]
[]
[753]
[]
[432]
{"$rows_empty":11}
[433]
[]
[1268]
[]
[434]
[]
[435]
[]
[436]
[]
[437]
[]
[441]
[]
[442]
[]
[443]
[]
[445]
[]
[446]
[]
[988]
[]
[447]
[]
[448]
[]
[449]
[]
[450]
[]
[451]
[]
[452]
[]
[989]
[]
[453]
[]
[454]
{"$rows_empty":9}
[455]
[]
[456]
[]
[458]
[]
[461]
[]
[462]
[]
[463]
[]
[465]
[]
[466]
[]
[467]
[]
[468]
[]
[470]
[]
[471]
[]
[472]
[]
[473]
[]
[474]
[]
[475]
[]
[990]
[]
[476]
[]
[477]
[]
[991]
[]
[491]
[]
[492]
[]
[493]
{"$rows_empty":9}
[494]
[]
[495]
[]
[496]
[]
[1269]
[]
[1270]
[]
[1271]
[]
[497]
[]
[498]
[]
[992]
[]
[1272]
[]
[499]
[]
[500]
[]
[501]
[]
[502]
[]
[1273]
[]
[503]
[]
[504]
[]
[505]
[]
[506]
[]
[507]
[]
[508]
{"$rows_empty":8}
[509]
[]
[510]
[]
[511]
[]
[512]
[]
[513]
[]
[994]
[]
[995]
[]
[996]
[]
[1274]
[]
[1275]
[]
[1276]
{"$rows_empty":35}
[997]
[]
[1060]
[]
[1061]
[]
[1001]
[]
[1002]
[]
[1003]
[]
[1004]
[]
[1005]
[]
[1006]
[]
[1007]
[]
[1008]
[]
[1009]
[]
[1010]
[]
[1011]
[]
[1013]
[]
[1014]
[]
[1015]
[]
[1016]
[]
[1017]
[]
[1018]
[]
[1019]
{"$rows_empty":10}
[1020]
[]
[1021]
[]
[1022]
[]
[1023]
[]
[1024]
[]
[1025]
[]
[1026]
[]
[1029]
[]
[1030]
[]
[1031]
[]
[1052]
[]
[1032]
[]
[1033]
[]
[1035]
[]
[1036]
[]
[1037]
[]
[1038]
[]
[1047]
[]
[1048]
[]
[1049]
{"$rows_empty":8}
[1063]
[]
[1055]
{"$rows_empty":58}
[1064]
[]
[1065]
[]
[1066]
[]
[1067]
[]
[1068]
[]
[1069]
[]
[1139]
[]
[1140]
[]
[1141]
[]
[1070]
[]
[1071]
[]
[1073]
[]
[1075]
[]
[1076]
[]
[1077]
[]
[1114]
[]
[1078]
[]
[1079]
[]
[1080]
[]
[1081]
[]
[1082]
[]
[1083]
{"$rows_empty":8}
[1084]
[]
[1085]
[]
[1086]
[]
[1090]
[]
[1091]
[]
[1110]
[]
[1283]
[]
[1116]
[]
[1117]
[]
[1142]
[]
[1284]
[]
[1092]
[]
[1093]
[]
[1094]
[]
[1095]
[]
[1115]
[]
[1143]
[]
[1118]
[]
[1144]
[]
[1119]
[]
[1096]
{"$rows_empty":9}
[1125]
[]
[1126]
[]
[1130]
[]
[1145]
[]
[1131]
[]
[1146]
[]
[1147]
[]
[1133]
[]
[1134]
[]
[1148]
[]
[1097]
[]
[1098]
[]
[1099]
[]
[1111]
[]
[1100]
[]
[1113]
[]
[1101]
[]
[1102]
[]
[1103]
[]
[1104]
[]
[1105]
[]
[1112]
{"$rows_empty":10}
[1106]
[]
[1107]
[]
[1108]
[]
[1124]
[]
[1149]
[]
[1285]
[]
[1286]
{"$rows_empty":40}
[1150]
[]
[1206]
[]
[1207]
[]
[1208]
[]
[1209]
[]
[1210]
[]
[1211]
[]
[1212]
[]
[1213]
[]
[1214]
[]
[1215]
[]
[1216]
[]
[1217]
[]
[1218]
[]
[1219]
[]
[1220]
[]
[1221]
[]
[1222]
[]
[1223]
[]
[1224]
[]
[1225]
{"$rows_empty":9}
[1226]
[]
[1227]
[]
[1228]
[]
[1229]
[]
[1230]
[]
[1231]
[]
[1232]
[]
[1233]
[]
[1234]
[]
[1235]
[]
[1236]
[]
[1237]
[]
[1238]
[]
[1239]
[]
[1240]
[]
[1241]
[]
[1242]
[]
[1243]
{"$rows_empty":15}
[1244]
[]
[1245]
[]
[1246]
[]
[1247]
[]
[1248]
[]
[1249]
[]
[1250]
[]
[1251]
[]
[1252]
[]
[1253]
[]
[1254]
{"$rows_empty":32}
[684]
[]
[1174]
[]
[1175]
[]
[1176]
[]
[1177]
[]
[1178]
[]
[1179]
[]
[1180]
[]
[1181]
[]
[1279]
[]
[1182]
[]
[1183]
[]
[1184]
[]
[1185]
[]
[1186]
[]
[1187]
[]
[1188]
[]
[1189]
[]
[1190]
[]
[1191]
{"$rows_empty":10}
[1192]
[]
[1193]
[]
[1194]
[]
[1195]
[]
[1196]
[]
[1197]
[]
[1204]
[]
[1198]
[]
[1199]
[]
[1200]
[]
[1201]
[]
[1205]
[]
[1202]
[]
[1277]
[]
[1278]
{"$rows_empty":21}
[755]
[]
[757]
[]
[758]
[]
[759]
[]
[773]
[]
[774]
[]
[775]
[]
[776]
[]
[811]
[]
[812]
[]
[813]
[]
[814]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}