## Building 10 second phase
|  | QTY | RATE | AMOUNT
PAINTWORK
User note
Insert preambles/specifications as may be required or in order to supplement any applicable preambles, specifications or bills of quantities descriptions
Take note that these Model Bills of Quantities utilise abbreviated descriptions
The Model Preambles for Trades 2008 published by the Association of South African Quantity Surveyors is designed to support and extend the abbreviated bills of quantities descriptions by inter alia referring to SANS construction standards. Where such model preambles are not applicable (e.g. where BS or Euro construction standards are applicable or the design consultants provide other preambles/specifications for insertion), users are to ensure that the abbreviated descriptions when read in conjunction with the applicable measuring system, represents the full description by extending the abbreviated bills of quantities descriptions and/or by inserting appropriate preambles or specifications
Consider inserting the preambles hereunder when using the abovementioned Model Preambles for Trades 2008
Attention is drawn to the measurement rules in the measuring system regarding paint colours which read as follows: "4. Paintwork shall be classified in the different colour groups "White", "Pastel", "Deep" and "Transparent" (in accordance with the Natural Colour System (NCS) adopted by the SA National Standards)" and "5. Paintwork in one colour group may be given as extra over paintwork in another colour group"
SUPPLEMENTARY PREAMBLES
PREPARATORY WORK TO EXISTING WORK
Previously painted plastered surfaces
Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth
PAINT SPECIFICATIONS
All painting shall be done in accordance with specifications unless otherwise described.
PAINT
Painting of walls
Ensure the surface to be dry, sound and clean, remove all flaking paint and remove pins hooks screws, existing fasteners not utilised.
Allow for filling holes and cracks where needed and sand down filler level with surface.
Allow for Suitable primer paint 1coat Colour white
Allow for polvin super acrylic premium washable matt Paint 2 coats with minimum 10 year guarantee
Colour Amazon mist
Concrete soffits
Ensure the surface to be dry, sound and clean, remove all flaking paint and remove pins hooks screws, existing fasteners not utilised.
Allow for filling holes and cracks where needed and sand down filler level with surface.
Allow for Suitable primer paint 1coat Colour white
Allow for polvin super acrylic premium washable matt Paint 2 coats with minimum 10 year guarantee
Colour Brilliant White
Timber doors
Ensure the surface to be dry, sound and clean, remove all flaking paint and remove pins hooks screws, existing fasteners not utilised.
Allow for suitable primer paint 1coat
Surface to be dry, sound and clean. Prime with one coat of primer with an overcoating time of 16 hours and finish with 2coats premium quality velvet sheen wall paint that is highly washable and stain resistant. (with 15year guarantee)
Colour Amazon mist
Metal or timber doorframes
Paint to metal surfaces
Prepare surface by removing loose materials, sand down existing previously painted steel
Prepare steel surface with 1coat primer.
None drip Water based matt Enamel paint 2 Coats with minimum 12 year guarantee
Colour Dark Onyx
Timber Skirting
Surface to be dry, sound and clean. Prime with one coat of wood primer with an overcoating time of 16 hours and finish with two coats of Paint
Varnish to match existing colour
Allow for sanding of existing and apply 1ct varnish to seal timber or brick and 2 coats varnish
PAINTING notes and inclusions
Note painting surface includes, walls, window openings, window frames, doors, door frames. The area below is an all inclusive measurement. The contractor to make allowance for cuttings, waste, surface imperfections, surface preparations, painting to openings, paining to doors, windows, door frames window frames etc. Allow where required plaster patching, Polyfilla to smooth surface. Removal and fitting back of fittings and fixtures to be allowed for buy the contractor. No painting around covers, such shall be removed and fitted back after painting.
BLINDS (NOT TO BE REMOVED)
Blinds, the contractor not to remove blinds, where necessary for removal the contractor shall make allowance for such. Including the reinstalment of the blinds.
PROTECTION
The contractor is responsible for protection of existing surfaces. Protect all surfaces including horizontal and vertical surfaces. Protect all existing finishes, floor and wall finishes including carpets, tiles, paint and all other surfaces.
DEMOLITIONS REMOVALS
All waste and rubble to be carted away to a dumping site selected by the contractor
Remove existing floor cover
Allow for the removal of existing floor cover and cart offsite
Prepare surface by removing all existing glues and prepare floor to receive new vinyl
Works to be done
Remove Carpet
B10 B / A007 circ support | m2 | 83 |  | 0
B10 B /F02 | m2 | 50 |  | 0
B10 1/A107 first floor | m2 | 130 |  | 0
B10 G/A10 Ground floor | m2 | 48 |  | 0
D032 ground | m2 | 90 |  | 0
E10 ground | m2 | 35 |  | 0
Remove laminate floor
Kitchen and dining area Block E | m2 | 65 |  | 0
Remove Vinyl tiles | m2 | 13 |  | 0
Bathroom A70 ground female | m2 | 13 |  | 0
Bathroom A72 ground male | m2 | 14 |  | 0
Bathroom A170 first female | m2 | 13 |  | 0
Bathroom A172 first male | m2 | 14 |  | 0
Passage to block A and F | m2 | 122 |  | 0
North side A74 First Floor | m2 | 50 |  | 0
Remove floor Tiles
Kitchen B024 | m2 | 29 |  | 0
kitchen B016 ground | m2 | 15 |  | 0
Kitchen C34 | m2 | 10 |  | 0
Kitchen D013 | m2 | 18 |  | 0
Kitchen B128 | m2 | 13 |  | 0
Kitchen B121 and dining | m2 | 29 |  | 0
Bathroom A016 basement male | m2 | 29 |  | 0
Bathroom A018 basement female | m2 | 14 |  | 0
Bathroom A14 ground male | m2 | 29 |  | 0
Bathroom A18 ground female | m2 | 9 |  | 0
Bathroom A19 ground for the disabled | m2 | 11 |  | 0
Remove wall tiles
Kitchen B024 | m2 | 13 |  | 0
Kitchen C34 ground floor | m2 | 20 |  | 0
Kitchen D013 ground floor | m2 | 14 |  | 0
Kitchen B128 first floor | m2 | 14 |  | 0
Kitchen C121 and dining | m2 | 10 |  | 0
Bathroom A016 basement male | m2 | 86 |  | 0
Bathroom A018 basement female | m2 | 46 |  | 0
Bathroom A14 ground male | m2 | 81 |  | 0
Bathroom A18 ground female | m2 | 33 |  | 0
Bathroom A19 ground for the disabled | m2 | 40 |  | 0
Bathroom A70 ground female | m2 | 52 |  | 0
Bathroom A72 ground male | m2 | 52 |  | 0
Bathroom A170 first female | m2 | 52 |  | 0
Bathroom A172 first male | m2 | 52 |  | 0
Self levelling screed
Prepare surface by removing all existing glues and prep floor to receive new vinyl | m2 | 304 |  | 0
Allow for self levelling screed and make level for fixing of new vinyl planks
Kitchens
Remove existing kitchen units and cart off site
Kitchen B024 | item | 1 |  | 0
Kitchen B016 ground | item | 1 |  | 0
Kitchen C34 | item | 1 |  | 0
Kitchen D013 | item | 1 |  | 0
Kitchen B128 | item | 1 |  | 0
Kitchen B121 and dining | item | 1 |  | 0
Bathrooms
Carefully dismantle and remove all existing sanitary fittings and cart away, including urinal troughs
Bathroom A016 basement male | item | 1 |  | 0
Bathroom A018 basement female | item | 1 |  | 0
Bathroom A14 ground male | item | 1 |  | 0
Bathroom A18 ground female | item | 1 |  | 0
Bathroom A19 ground for the disabled | item | 1 |  | 0
Bathroom A70 ground female | item | 1 |  | 0
Bathroom A72 ground male | item | 1 |  | 0
Bathroom A170 first female | item | 1 |  | 0
Bathroom A172 first male | item | 1 |  | 0
PAINTING OF WALLS
Walls | m2 | 2409 |  | 0
The measurements are including windows, doors and their frames, note allow for painting of windows and sills heads and sides to the opening as well. Allow for painting of doors and doorframes etc
Note allow for painting of window frames inclusive of walls
Passage basement
Ground floor passage
South entrance side
First floor passage
Paint internal to office walls
Block E Ground floor
Block E First floor
Paint internal to stair cases | m2 | 210 |  | 0
Note allow for painting of window frames inclusive of walls
North stair
Central stair
South stair
Paint to Concrete soffit | m2 | 411 |  | 0
The measurements include sided of existing down stand beams
Paint to concrete sofit
Basement passage
Basement passage
Ground floor passage north
Ground floor passage south entrance
First floor passage at North Stair
First floor passage at South Stair
Paint to Concrete soffit to Stairs | m2 | 158 |  | 0
The measurements include sided of existing down stand beams
Make allowance for slope and scaffold to suite
North stair
Central stair
South stair
PAINT TO METAL
Prepare surface by removing loose materials, sand down existing previously painted steel, prepare steel frame surface with primer. Apply two coats water-based enamel
Paint to steel door frames | m | 553 |  | 0
Basement passage and Toilets
Ground floor passage and Toilets
First floor passages and Toilets
Paint to staircase rails
note paint to internal side and the sides of the opening pane as well
Prepare surface by removing loose materials, sand down existing previously painted steel, prepare steel frame surface with primer. Apply two coats water based enamel
Paint to staircase rails and metal barriers | m2 | 176 |  | 0
North stair
Central stair
South stair
Paint to power skirting
Prepare surface by removing loose materials, sand down existing previously painted steel, prepare steel surface with primer. Apply two coats water based enamel
Note: make allowance for the removal of socket cover plates and refit including painting of socket covers
Note: allow for the removal of covers, painting separately and dry before placing back on power skirting
Colour Dark Onyx
Paint to power skirting | m | 110 |  | 0
TIMBER
PAINT TO DOORS
Doors both sides | m2 | 585 |  | 0
Surface to be dry, sound and clean. Prime with one coat of primer with an overcoating time of 16 hours and finish with 2coats premium quality velvet sheen wall paint that is highly washable and stain resistant. (with 15year guarantee)
Basement passage and Toilets
Ground floor passage and Toilets
First floor passages and Toilets
Timber or Brick skirting | m | 120 |  | 0
Surface to be dry, sound and clean. Prime with one coat of primer with an overcoating time of 16 hours and finish with two coats of paint
FLOOR COVER
office areas passages etc
New Floor cover
Vinyl planks
Apply heavy commercial vinyl planks, allow for cutting and waste
1219.2mm x177.8mm Sylvan Cedar vinyl planks 2.5mm thick with 0.55mm ware layer. | m2 | 505 |  | 0
fitted in accordance with manufacturer's specifications to smooth, level approved concrete cement surface
Basement
Ground floor
First floor
Carpet tiles
Allow for the supply and installation of 500X500 carpet tiles, | m2 | 305 |  | 0
Heavy Commercial carpets, with minimum thickness of 7mm thick
Heavy Commercial, PP, Needle punch, Resin Backed Tile/
Stainproof Fibre
Basement
Ground floor
First floor
KITCHENS
Cabinets (notes)
Colour to be Dove grey
Kitchen cabinet units 16mm thick chipboard laminate in melamine with matching machine pressed edging.
Door: 16mm Thick chipboard laminated in melamine four-sided Full wrap post form with 3mm impact edging. Hinges: to be soft closing Internal concealed Grass type and quality with minimum 100 000 cycle test guarantee. Handles: Anodized Silver finish, LOCKS on all door: CISA drawer and cupboard.
Allow for drawer unit with standard four drawers. Note the rails to be soft closing telescopic rails.
Allow for one tilt out trash bin unit, including the supply and holding mechanism for the bin
Allow for the aluminium kickplate fixed to base of the floor units.
Wall units
Allow for standard depth of wall units with a minimum two shelve storage space. All detail and finish as per base units
Kitchen tops
kitchen worktops 20mm thick Eezi quartz Sparkle top
including the allowance to make cutout for the drop-in double bowl SS sink, taps etc
New kitchen furniture
Base kitchen cabinet units
basement
B024 block b | m | 3.5 |  | 0
ground
Block B 016 | m | 4.6 |  | 0
Block D old SPU, new direction away from the power skirting | m | 4.6 |  | 0
Block D just a base cabinet under the power skirting | m | 3.2 |  | 0
Block E new direction away from the power adaptor | m | 3.2 |  | 0
Block E just a base cabinet under the power skirting | m | 2.5 |  | 0
Block C | m | 4.3 |  | 0
Block C sink cabinet | m | 3.2 |  | 0
first floor
Block B just a base cabinet under the power skirting | m | 3.2 |  | 0
Block B sink cabinet new direction away from the power skirting | m | 3 |  | 0
Block C just a base cabinet under the power skirting | m | 3 |  | 0
Block C sink cabinet | m | 2 |  | 0
Block D, new direction away from the power skirting | m | 3.2 |  | 0
Block D just a base cabinet under the power skirting | m | 2 |  | 0
Wall mounted kitchen cabinet units
basement
B024 block b | m | 3.2 |  | 0
ground
Block B 016 | m | 4.6 |  | 0
Block D old SPU, new direction away from the power skirting | m | 4.6 |  | 0
Block E new direction away from the power skirting | m | 3.2 |  | 0
Block C new direction away from the power skirting | m | 4.25 |  | 0
first floor
Block B sink cabinet new direction away from the power skirting | m | 3 |  | 0
Block C sink cabinet | m | 2 |  | 0
Block D, new direction away from the power skirting | m | 3.2 |  | 0
Supply and install Chromium platted kitchen mixer
Including all waste and new fittings
basement
B024 block b | Item | 1 |  | 0
ground
Block B 016 | Item | 1 |  | 0
Block D old SPU, new direction away from the power skirting | Item | 1 |  | 0
Block E new direction away from the power adaptor | Item | 1 |  | 0
Block C sink cabinet | Item | 1 |  | 0
first floor
Block B sink cabinet new direction away from the power skirting | Item | 1 |  | 0
Block C sink cabinet | Item | 1 |  | 0
Block D, new direction away from the power skirting | Item | 1 |  | 0
Kitchen Sink
Install stainless steel double bowl sink, allow for all fixtures and waste fittings including Mixer tap with all fittings and waste included
basement
B024 block b | Item | 1 |  | 0
ground
Block B 016 | Item | 1 |  | 0
Block D old SPU, new direction away from the power skirting | Item | 1 |  | 0
Block E new direction away from the power adaptor | Item | 1 |  | 0
Block C sink cabinet | Item | 1 |  | 0
first floor
Block B sink cabinet new direction away from the power skirting | Item | 1 |  | 0
Block C sink cabinet | Item | 1 |  | 0
Block D, new direction away from the power skirting | Item | 1 |  | 0
Kitchen Tiling
Kitchen floor tiles
Full bodied 600x600 double pressed porcelain tiles (NON SLIP) complying with SANS 1449/13006 fixed to floor screed with approved tile adhesive mixed with bonding liquid in lieu of water joints grouted with tile grout with minimum 5mm expansion joints at perimeter, all structural expansion and construction joints and maximum 5m centre internally and at 3m centres externally, in both directions. All to manufacturers specifications – Colour Dark Grey code OBF05
On Floors
basement
B024 block b | m2 | 28 |  | 0
ground
Block B 016 | m2 | 15 |  | 0
Block D 013 old SPU | m2 | 18 |  | 0
Block E 007 | m2 | 10 |  | 0
Block E 007 UK | m2 | 55 |  | 0
Block C 34 | m2 | 10 |  | 0
first floor
Block B | m2 | 14 |  | 0
Block C 121 | m2 | 8 |  | 0
Block C 127 | m2 | 22 |  | 0
Block D, 132 | m2 | 10 |  | 0
Kitchen wall tiles
Full bodied 600x600 double pressed porcelain tiles complying with SANS 1449/13006 fixed with approved tile adhesive mixed with bonding liquid in lieu of water joints grouted with tile grout with minimum 3mm expansion joints at perimeter, all structural expansion and construction joints and maximum 5m centre internally and at 3m centres externally, in both directions. All to manufacturers specifications – Colour Light Grey OBF06
On walls at cabinet area only and basin splashback
basement
B024 block b | m2 | 28 |  | 0
ground
Block B 016 | m2 | 10 |  | 0
Block D 013 old SPU | m2 | 10 |  | 0
Block E 007 | m2 | 10 |  | 0
Block E 007 UK | m2 | 10 |  | 0
Block C 34 | m2 | 10 |  | 0
first floor
Block B | m2 | 10 |  | 0
Block C 121 | m2 | 10 |  | 0
Block C 127 | m2 | 10 |  | 0
Block D, 132 | m2 | 10 |  | 0
Kitchen Work tops
Supply and install kitchen worktops 20mm thick Eezi quartz Sparkle top
basement
B024 block b | m | 3.5 |  | 0
ground
Block B 016 | m | 4.6 |  | 0
Block D old SPU, new direction away from the power skirting | m | 4.6 |  | 0
Block D just a base cabinet under the power skirting | m | 3.2 |  | 0
Block E new direction away from the power adaptor | m | 3.2 |  | 0
Block E just a base cabinet under the power skirting | m | 2.5 |  | 0
Block C | m | 4.3 |  | 0
Block C sink cabinet | m | 3.2 |  | 0
first floor
Block B just a base cabinet under the power skirting | m | 3.2 |  | 0
Block B sink cabinet new direction away from the power skirting | m | 3 |  | 0
Block C just a base cabinet under the power skirting | m | 3 |  | 0
Block C sink cabinet | m | 2 |  | 0
Block D, new direction away from the power skirting | m | 3.2 |  | 0
Block D just a base cabinet under the power skirting | m | 2 |  | 0
Edge trims
Aluminium tile Edge Trims to top of wall tiles | m | 50 |  | 0
Aluminium tile Edge Trims to corners | m | 50 |  | 0
Cabinet plinth
Aluminium kickplate to bottom of kitchen base cabinets
Kick Plate brushed Aluminium 150mm high by 2mm thick | m | 45.5 |  | 0
BATHROOMS
New Bathroom
Pipes and fittings | PC | 1 |  | 0
Allow for new copper pipes and connections to suite
Allow for new waste pipes 45mm PVC and recessed into existing walls
Allow for cutting and countersunk pipes i.e. water supply and waste pipes
Masonry plaster repair
Allow for Profit and attendance | item | 1 |  | 0
Sanitary Fittings
Basement A018
Basement A016
Ground A17,19
Ground A18
Ground A14
Ground A70
Ground A72
First A118 (complete)
First A114 (complete)
Ground A170
Ground A172
Install as per manufactures recommendations and as per building and SABS regulations
Urinal
white ceramic visible inlet urinal, size 350 x 480 x 400mm, bolted to the wall with stainless steel bolts and sealed with abe Dow Corning acetoxy silicone sealant, all in accordance to manufacturer’s specification.
including pneumatic urinal actuator finished in chromium plated “matt” including housing with shut off valve, flush pipe and urinal trap deem to comply with specifications
Urinal | No | 6 |  | 0
Water closet
Floor mounted, Shape to be Boxed rim flush, vitreous China coupled suite colour White (Code: 773862), comprising 90° outlet closed rim washdown pan with matching with matching 6 litre cistern including and Thermoset Soft-Close seat
Deem to comply with Specifications: Ceramic water closet to SANS 497. This includes the supply and installations of 1 x Angel regulating valve DZR 15x5mm per water closet.
(fitted with all the necessary waste and water supply fittings and fixtures)
Water closet | No | 18 |  | 0
Hand wash basins
“Duravit Vero "white Alpin ceramic above counter top wash hand basin, size 450mm x 350mm x 135 with one tap hole and overflow, fixed to the counter top and sealed with abe Dow corning 785 epoxy silicone sealant where basin rim meets counter top, all in accordance with the manufacturer’s specifications. This includes the supply and installation of below 1.2 x Angle regulating valve DZR 15 x 15mm per Hawash basin. 2.1 x Standard chrome bottle trap CL including Tailpipe & Bung 32 per basin. 3.1 x GVD Slotted basin click waste per basin
Hand wash basins | No | 16 |  | 0
Traps etc
40mm brass shower trap with chromium plated grating and grating | No | 4 |  | 0
32mm chromium plated bottle trap with tail pipe for Basin | No | 16 |  | 0
32mm chromium plated bottle trap with tail pipe for Urinal | No | 6 |  | 0
Taps, Valves, etc
Supply and install chromium plated angled Self-Closing Hydraulic Metering Basin Pillar taps with a minimum height of 170mm | No | 16 |  | 0
Note (Install Stainless Steel Braided flexible hose connectors to be SABS approved) | No | 56 |  | 0
With SABS mark to be visible and stamped on the pipe
Note Allow for all water connections to receive SABS approved wall mount Angle valve with backplate | No | 56 |  | 0
Testing
Allow for all sanitary plumbing, water supply and testing of all pipework | Ablutions | 6 |  | 0
Mirrors
Supply and install 4.5mm thick Mirror fixed with bevelled edges fixed Chromium platted round headed mirror screws
Size 600X900mm high | Item | 16 |  | 0
Bathroom Tilling
Basement A018
Basement A016
Ground A17,19
Ground A18
Ground A14
Ground A70
Ground A72
First A118 (complete)
First A114 (complete)
Ground A170
Ground A172
Bathroom Floor tilling
Full bodied 600x600 double pressed porcelain tiles (NON SLIP) complying with SANS 1449/13006 fixed to floor screed with approved tile adhesive mixed with bonding liquid in lieu of water joints grouted with tile grout with minimum 5mm expansion joints at perimeter, all structural expansion and construction joints and maximum 5m centre internally and at 3m centres externally, in both directions. All to manufacturers specifications – Grey.
On Floors | m2 | 145 |  | 0
Bathroom Wall tilling
Full bodied 600x600 double pressed porcelain tiles complying with SANS 1449/13006 fixed with approved tile adhesive mixed with bonding liquid in lieu of water joints grouted with tile grout with minimum 5mm expansion joints at perimeter, all structural expansion and construction joints and maximum 5m centre internally and at 3m centres externally, in both directions. All to manufacturers specifications – Grey
On walls | m2 | 473 |  | 0
Bathroom Mosaic
Douglas Jones 435- 48 x 48mm mesh backed slate mosaic tile 'Charcoal Black-BAWM01' fixed with Tal adhesive and flush jointing compound with consistent 5mm joints maximum laid and sealant to manufacturers specification.
Shower floors | m2 | 4 |  | 0
On Walls | m2 | 48 |  | 0
Bathroom vanity slab
Vanity Slap: 30mm thick granite to with 45-degree metered joint with 2 – 3mm bevel on surface edge, fixed to supports (elsewhere specified) using dabs of 100% clear silicone adhesive at 200mm to 300mm centres along all supports with all joints filled with matching polyester resin glue. Surface to be sealed using an approved stone sealer, in all accordance with the manufacturer’s recommendations, on coat acrylic sealer and then with silicone. This includes the 90° to cover the waste pipes. Height 300mm. | m | 21 |  | 0
Bathroom Edge trims
Aluminium tile Edge Trims to top and corners of wall tiles | m | 422 |  | 0
Ceilings and Partitions etc
Lafarge Gypsum lay in-grid ceiling system with 1200 x 600 x 12mm thick square edged Jumbo Fissured vinyl tiles, laid on 15 x 38mm high double stitched slotted main tees at 1200mm centres with galvanised exposed face all in colour White, including necessary grids, and shadow line wall angle, locking type end clips, fire expansion punch outs to main tees etc, suspended by 25 x 0,8mm galvanised strapping not exceeding 1200mm centres. All in accordance with SABISA installation guidelines.
Ceiling to office | m2 | 20 |  | 0
Ceilings to toilets | m2 | 160 |  | 0
Lighting
Supply and installation of 1200x600 Osram ledvance led panel IP54 day light fittings on the lay in grid suspended ceilings ( CSIR Facilities services to install the small power supplies or connections )
to toilets | No | 37 |  | 0
Supply and install Blinds to match existing Block F
Average window size 920mm wide X 1750mm high
Block B | No | 140 |  | 0
Block C | No | 189 |  | 0
Block D | No | 140 |  | 0
RUBBLE
Allow for rubble removal | Item | 1 |  | 0
Allow for Safety and regulatory requirements | Item | 1 |  | 0
Subtotal |  |  |  | 0
Contingency amount' | 5% |  |  | 0
Subtotal |  |  |  | 0
VAT | 15% |  |  | 0
Final value |  |  |  | 0